Stoma Product Assessment Panel Public Summary Documents

Hollister – 12 November 2024

Contents

[Hollister CeraPlus Skin Barrier (10cm x 10cm) – HO#03NOVEMBER2024 2](#_Toc184993699)

[Hollister Moderma Flex CeraPlus Soft Convex Urostomy Clear – Full Barrier – HO#04NOVEMBER2024 3](#_Toc184993700)

[Hollister Moderma Flex CeraPlus Soft Convex Urostomy Clear 15 - 25mm CTF – Full Barrier – HO#05NOVEMBER2024 4](#_Toc184993701)

[Hollister Deletion Requests – November 2024 5](#_Toc184993702)

# Hollister CeraPlus Skin Barrier (10cm x 10cm) – HO#03NOVEMBER2024

## Proposed Listing on the Stoma Appliance Scheme

The applicant, Hollister, sought listing of Hollister CeraPlus Skin Barrier (10cm x 10cm) in subgroup 9(a) of the Stoma Appliance Scheme (SAS) Schedule. The product, including one variant, was proposed for listing at a unit price of $2.876, with a pack size of 5 units and a maximum monthly quantity of 30 units.

## Comparator

The applicant nominated Hollister Flextend (3558G) as the comparator. The comparator product (one variant) is currently listed in subgroup 9(a) of the SAS Schedule at the unit price of $2.875, with a pack size of 5 units and a maximum monthly quantity of 30 units.

## Background

This was the Stoma Product Assessment Panel’s (the Panel) first consideration of this product.

## Clinical Analysis

The proposed product provides an alternative for users requiring a skin barrier product. The Panel noted the product contains ceramide which is beneficial for peristomal ulcers, and the product can also be used as an interface for contact dermatitis.

## Economic and Financial Analysis

The Panel noted that the listing of this new product at the same price and the same maximum monthly quantity as currently listed products in the same subgroup is expected to result in the same cost to the SAS.

## Panel Recommendation

The Panel recommended the Hollister CeraPlus Skin Barrier (10cm x 10cm) be listed in subgroup 9(a) of the SAS Schedule with one variant, at the unit price of $2.876, with a pack size of 5 units and a maximum monthly quantity of 30 units.

## Context for Recommendation

The Panel provides advice on whether stoma products should be subsidised and, if so, the conditions of their subsidy in Australia. Applications are considered in this context. The Panel is an advisory committee and its recommendations are non-binding on Government. All Panel recommendations are subject to Government approval.

## Applicant’s Comment

The applicant noted the recommendation.

# Hollister Moderma Flex CeraPlus Soft Convex Urostomy Clear – Full Barrier – HO#04NOVEMBER2024

## Proposed Listing on the Stoma Appliance Scheme

The applicant, Hollister, sought listing of Hollister Moderma Flex CeraPlus Soft Convex Urostomy Clear – Full Barrier in subgroup 3(b) of the Stoma Appliance Scheme (SAS) Schedule. The product, including 2 variants, was proposed for listing at a unit price of $6.373, with a pack size of 10 units and a maximum monthly quantity of 30 units.

## Comparator

The applicant nominated Hollister Moderma Flex CeraPlus Multi-chamber with Soft Convex (80196W) as the comparator. The comparator product (6 variants) is currently listed in subgroup 3(b) of the SAS Schedule at the unit price of $6.373, with a pack size of 10 units and a maximum monthly quantity of 30 units.

## Background

This was the Stoma Product Assessment Panel’s (the Panel) first consideration of this product.

## Clinical Analysis

The proposed product provides an alternative for users requiring a one-piece urostomy convex baseplate. The Panel noted the clear bag is a useful alternative, especially for new ostomates to visualise the stoma and bag contents.

## Economic and Financial Analysis

The Panel noted that the listing of this new product at the same price and the same maximum monthly quantity as currently listed products in the same subgroup is expected to result in the same cost to the SAS.

## Panel Recommendation

The Panel recommended the Hollister Moderma Flex CeraPlus Soft Convex Urostomy Clear – Full Barrier be listed in subgroup 3(b) of the SAS Schedule with 2 variants, at the unit price of $6.373, with a pack size of 10 units and a maximum monthly quantity of 30 units.

## Context for Recommendation

The Panel provides advice on whether stoma products should be subsidised and, if so, the conditions of their subsidisation in Australia. Applications are considered in this context. The Panel is an advisory committee and its recommendations are non-binding on Government. All Panel recommendations are subject to Government approval.

## Applicant’s Comment

The applicant noted the recommendation.

# Hollister Moderma Flex CeraPlus Soft Convex Urostomy Clear 15 - 25mm CTF – Full Barrier – HO#05NOVEMBER2024

## Proposed Listing on the Stoma Appliance Scheme

The applicant, Hollister, sought listing of Hollister Moderma Flex CeraPlus Soft Convex Urostomy Clear 15 - 25mm CTF – Full Barrier in subgroup 3(b) of the Stoma Appliance Scheme (SAS) Schedule. The product, including one variant, was proposed for listing at a unit price of $6.373, with a pack size of 10 units and a maximum monthly quantity of 30 units.

## Comparator

The applicant nominated Hollister Moderma Flex CeraPlus Multi-chamber with Soft Convex (80196W) as the comparator. The comparator product (6 variants) is currently listed in subgroup 3(b) of the SAS Schedule at the unit price of $6.373, with a pack size of 10 units and a maximum monthly quantity of 30 units.

## Background

This was the Stoma Product Assessment Panel’s (the Panel) first consideration of this product.

## Clinical Analysis

The proposed product provides an alternative for users requiring a one-piece urostomy convex baseplate. The Panel noted the clear bag is a useful alternative, especially for new ostomates to visualise the stoma and bag contents.

## Economic and Financial Analysis

The Panel noted that the listing of this new product at the same price and the same maximum monthly quantity as currently listed products in the same subgroup is expected to result in the same cost to the SAS.

## Panel Recommendation

The Panel recommended the Hollister Moderma Flex CeraPlus Soft Convex Urostomy Clear 15 - 25mm CTF – Full Barrier be listed in subgroup 3(b) of the SAS Schedule with one variant, at the unit price of $6.373, with a pack size of 10 units and a maximum monthly quantity of 30 units.

## Context for Recommendation

The Panel provides advice on whether stoma products should be subsidised and, if so, the conditions of their subsidisation in Australia. Applications are considered in this context. The Panel is an advisory committee and its recommendations are non-binding on Government. All Panel recommendations are subject to Government approval.

## Applicant’s Comment

The applicant noted the recommendation.

# Hollister Deletion Requests – November 2024

## Proposed Deletions on the Stoma Appliance Scheme

The applicant, Hollister, sought the deletion of the following listings:

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Application ID | Group ID | SAS Code | Brand Name | Pack Size | Max Qty | Unit Price | Price Premium | Total company codes  | Company code/s being deleted |
| HO#01 | 2a | 9912Q | Hollister Moderma Flex | 10 | 30m | $4.879 | $0.205 | 6 | 28320 |
| HO#02 | 4b | 3956F | Hollister FormaFlex Skin Barrier | 5 | 20m | 4.742 | N/A | 3 | All |

## Financial analysis

Substitute products are currently listed in the same subgroups at the same cost and maximum quantities. It is unlikely that there would be any budgetary impact for the SAS as a consequence of deleting the products.

## Recommendation

As these were administrative changes, these applications were considered by the Panel secretariat in line with the SAS Application and Assessment Guidelines. The Panel secretariat noted there are equivalent products remaining on the Schedule and recommended the deletion of the products.

Hollister is to advise stoma associations, ostomates, stomal therapy nurses and the Australian Council of Stoma Associations of the deletion. A period of approximately 6 months from the date of the recommendation (12 November 2024) should be given to allow users of the product to seek a suitable alternative and to enable stoma associations to manage their stock levels.

## Context for Recommendation

The Panel secretariat, in accordance with the SAS Application and Assessment Guidelines, usually processes product deletions requested by the sponsor. This includes consideration of whether appropriate alternative products remain available on the SAS Schedule.

## Applicant’s Comment

The applicant noted the recommendations.