# Knee Grouping Scheme

Groupings

12 – Knee

12.01 – FEMORAL COMPONENT: TOTAL KNEE ARTHROPLASTY

12.01.01 – Cemented, Alloy

12.01.01.01 – Minimally Stabilised

Ceramic Surface

Fixed Stem

Revision

SCP

12.01.01.02 – Posterior Stabilised

Revision

SCP

12.01.01.03 – Totally Constrained

Hinged

Revision

Revision, Hinged

12.01.02 – Cemented, Alloy, PMMA Coating

12.01.02.01 – Minimally Stabilised

Revision

SCP

12.01.02.02 – Posterior Stabilised

SCP

12.01.03 – Cemented, Non-Alloy

12.01.03.01 – Minimally Stabilised

Ceramic Surface

Ceramic Surface, SCP

12.01.03.02 – Posterior Stabilised

Ceramic Surface

Ceramic Surface, SCP

12.01.03.03 – Totally Constrained

Revision

12.01.04 – Uncemented, Alloy

12.01.04.01 – Minimally Stabilised

Ceramic Surface, SCP

SCP

12.01.04.02 – Posterior Stabilised

SCP

12.01.04.03 – Totally Constrained

12.01.05 – Uncemented, Alloy, HA Coating

12.01.05.01 – Minimally Stabilised

SCP

12.01.05.02 – Posterior Stabilised

12.02 – FEMORAL COMPONENT: UNI-COMPARTMENTAL KNEE ARTHROPLASTY

12.02.01 – Cemented, Alloy

Ceramic Surface

12.02.01.01 – PMMA Coating

12.02.02 – Cemented, Non-Alloy

Ceramic Surface

12.02.03 – Uncemented, Alloy

12.02.03.01 – HA Coating

Ceramic Surface

12.03 – TIBIAL TRAY COMPONENT – TOTAL KNEE ARTHROPLASTY

12.03.01 – Cemented, All polyethylene

12.03.02 – Cemented, Alloy

Hinged

Revision

Revision, Hinged

SCP

12.03.02.01 – PMMA Coating

SCP

12.03.04 – Cemented, Alloy, for Mobile Insert

Revision

Revision, Extra Thick

Revision, Hinged

12.03.04.01 – PMMA Coating

SCP

12.03.05 – Uncemented, Alloy

Revision

12.03.05.01 – HA Coating

12.03.06 – Uncemented, Alloy, Moulded Polyethylene

SCP

12.03.07 – Uncemented, Alloy, for Mobile Insert

12.03.07.01 – HA Coating

Revision

12.04 – TIBIAL TRAY COMPONENT: UNI-COMPARTMENTAL KNEE ARTHROPLASTY

12.04.01 – Cemented, Alloy Polyethylene

12.04.02 – Cemented, Alloy

12.04.03 – Cemented, Alloy, Moulded Polyethylene

12.04.04 – Cemented, Alloy, for Mobile Insert

12.04.05 – Uncemented, Alloy

12.04.05.01 – HA Coating

12.05 – TIBIAL INSERT: TOTAL KNEE ARTHROPLASTY

12.05.01 – Minimally Stabilised

SCP

12.05.02 – Posterior Stabilised

12.05.03 – Totally Constrained

Axle included

12.06 – TIBIAL INSERT: UNI-COMPARTMENTAL ARTHROPLASTY

12.06.01 – Tibial Insert: Uni-Compartmental Arthroplasty

12.07 – PATELLO FEMORAL REPLACEMENT – FEMORAL COMPONENT

12.07.01 – Alloy

12.07.02 – Non-Alloy

Ceramic Surface

12.08 – PATELLAR COMPONENT

12.08.01 – Cemented, All Polyethylene

12.08.02 – Cemented, Polyethylene, Metal Backed

12.08.02.01 – Mobile

12.08.03 – Uncemented, Polyethylene, Metal Backed

12.08.03.01 – Mobile

12.08.03.02 – Moulded

Revision

12.08.04 – Polyethylene Insert for Mobile Patella

12.09 – TUMOUR PRODUCTS

12.09.01 – Distal Femur

12.09.01.01 – Condylar only (only when combined with a proximal tibial replacement)

Hinge included

12.09.01.02 – Condylar, including metaphyseal and/or diaphyseal

Hinge included

12.09.02 – Proximal Tibia

12.09.02.01 – Condylar only (only when combined with a proximal tibial replacement)

12.09.02.02 – Condylar, including metaphyseal and/or diaphyseal

12.09.03 – Diaphyseal Extension Piece (Femoral or Tibial)

12.09.03.01 – Incorporating Bone Fixation

12.09.04 – Bone Anchorage Piece

12.09.04.01 – With Compression

12.09.05 – Tibial Inserts

12.09.06 – Augments

12.09.07 – Stems

12.09.08 – Couplers or adaptors, incorporating stem extenders, sleeves, and other couplings

12.09.08.01 – Collar

12.09.08.02 – Adaptor

Complex

12.09.08.03 – Stem extender

12.11 – KNEE ACCESSORIES

12.11.01 – Augments

12.11.02 – Axles for hinged prostheses

12.11.03 – Bolts

12.11.04 – Connectors for hinged prostheses

12.11.06 – End caps

12.11.07 – Offset couplers/adaptors

12.11.08 – Pegs, lugs, etc

12.11.09 – Screws

12.11.10 – Stems – straight or offset

12.11.11 – Stem Extenders, Sleeves and other couplings

Metaphyseal

12.11.12 – Temporary Spacers

12.12 – PARTIAL RESURFACING

12.12.01 – Articulating Component

12.12.02 – Fixation Component

# SUFFIXES AND DEFINITIONS

| CS | Ceramic Surface |
| --- | --- |
| Rev | Revision |
| H | Hinged |
| SCP | Superior Clinical Performance (for noting, this suffix is scheduled to be removed from the Grouping Scheme) |
| Com | Complex |
| FS | Fixed Stem |
| MET | Metaphyseal |
| Stem Anchor | applies to complex stems for knee tumour implants which include in the same implant a stem, a bone anchorage and a means of affixation to the diaphyseal component. If this suffix is applied then other items from groups 12.9.3.1, 12.9.4 or 12.9.8.3 will not apply for the portion (femoral or tibial) of the construct. |
| Extra Thick | will apply only to revision tibial components in which: the thickness of the metal tray is greater than 15mm thick; and the extra thickness of the implant obviates the need for the use of additional wedges blocks to replace proximal tibial bone loss. |
| H included | is required to differentiate what is included with a device. H included applies to a femoral component of a tumour or hinged prostheses where the componentry for the hinge mechanism is included in the packaging and/or is preassembled with the femoral device. If the suffix is used then no other hinge components may be included in the implant construct e.g. axle, bushes etc. |
| Tumour Prostheses | Group 12.9 includes all components of knee replacement prostheses that have been designed for management of tumours around the knee. These limb salvage knee replacement prostheses are rarely used. They are designed to replace significant cortical, metaphyseal +/- diaphyseal bone loss on either the femoral or tibial side of the knee joint. Significant refers to cortical bone loss extending proximally beyond the femoral epicondyles beyond the tibial tuberosity |
| Knee Revision | (Femoral Components and Tibial Tray Components) means that a femoral or tibial component must be structurally different compared to a primary component and be specifically designed to be used in revision or complex primary cases. Differentiating characteristics of revision components include the ability to manage bone defects or soft tissue deficits by attaching additional elements such as a stem, sleeve, block, augment or a constraint mechanism, while revision tibial component may also be extra thick. |
| Knee Accessories – Augments | An augment is a device that can be attached to a femoral or tibial component to compensate for bone loss. |