# Neurosurgical Grouping Scheme

Groupings

04 – Neurosurgical

04.01 – ANEURYSM CLIPS

04.01.01 – Aneurysm Clip

Complex

04.01.02 – AVM Clip

04.02 – DURA DEFECT REPAIR

04.02.01 – Repair, Graft, Small (≤10cm²)

Biological

04.02.02 – Repair, Graft, Medium (>10 to 50cm²)

Biological

04.02.03 – Repair, Graft, Large (>50 to 100cm²)

Biological

04.02.04 – Repair, Graft, Extra Large (>100cm²)

Biological

04.02.05 – Repair, Liquid Sealant (0 to 3ml)

04.02.06 – Repair, Liquid Sealant (>3 to 6ml)

04.02.07 – Repair, Self-Adhesive Membrane Sealant, Small (≤10cm²)

04.02.08 – Repair, Self-Adhesive Membrane Sealant, Medium (>10 to 50cm²)

04.02.09 – Repair, Self-Adhesive Membrane Sealant, Large (>50 to 100cm²)

04.03 – HYDROCEPHALUS DEVICES

04.03.01 – Valves

04.03.01.01 – Valve, Externally Adjustable

Antisyphon function, Coating, Distal catheter, Proximal catheter, Reservoir/Priming function

Antisyphon function, Coating, Distal catheter, Reservoir/Priming function

Antisyphon function, Coating, Reservoir/Priming function

Antisyphon function, Distal catheter, Proximal catheter, Reservoir/Priming function

Antisyphon function, Distal catheter, Reservoir/Priming function

Antisyphon function, Reservoir/Priming function

Distal catheter, Lumboperitoneal, Proximal catheter, Reservoir/Priming function

Distal catheter, Proximal catheter, Reservoir/Priming function

Distal catheter, Reservoir/Priming function

Lumboperitoneal, Reservoir/Priming function

Reservoir

Reservoir/Priming function

04.03.01.02 – Valve, Non-externally adjustable

Antibiotics, Distal catheter, Proximal catheter

Antisyphon function

Antisyphon function, Coating, Distal catheter, Proximal catheter, Reservoir/Priming function

Antisyphon function, Coating, Distal catheter, Reservoir/Priming function

Antisyphon function, Coating, Reservoir/Priming function

Antisyphon function, Distal catheter, Proximal catheter, Reservoir/Priming function

Antisyphon function, Distal catheter, Reservoir/Priming function

Antisyphon function, Lumboperitoneal

Antisyphon function, Reservoir/Priming function

Distal catheter, Lumboperitoneal

Distal catheter, Proximal catheter

Distal catheter, Proximal catheter, Reservoir/Priming function

Distal catheter, Reservoir/Priming function

Reservoir/Priming function

04.03.01.03 – Valve and gravitational unit, externally adjustable

Distal Catheter

Distal Catheter, Reservoir/Priming Function

04.03.02 – Unitised shunt assembly, with proximal/distal catheter

Antisyphon function

04.03.03 – Catheter

Antibiotics

Antibiotics, Distal, Proximal

Distal

Distal, Coating

Proximal

Proximal, Coating

04.03.04 – Antisyphon Device

04.03.05 – Reservoir/Priming Device

Integrated Catheter

04.03.06 – Shunt Attachment

04.03.06.01 – Connector

04.03.06.02 – Right Angled Guide

04.04 – DEEP BRAIN STIMULATION (DBS)

04.04.01 – Implantable Pulse Generator

04.04.01.01 – Primary Cell Pulse Generator (non-rechargeable)

Dual Channel

04.04.01.02 – Rechargeable Pulse Generator

Dual Channel

Unlimited Deep Discharge Battery

04.04.02 – External Components

04.04.02.01 – Patient Programmer

Bluetooth

04.04.02.02 – Recharger

04.04.03 – Leads

04.04.03.01 – Permanent Lead

Current steering

04.04.03.02 – Lead Extension

04.04.04 – Microtargetting Electrodes

04.04.04.01 – Burr Hole Cover

04.04.04.02 – Connectors and Cables

04.04.04.03 – Intraoperative accessories

04.04.05 – Accessories

04.04.05.01 – Burr Hole Cover

04.04.05.02 – Connectors and cables

04.04.05.03 – Intraoperative accessories

04.05 – NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT

04.05.01 – Pulse Generators

04.05.01.01 – Primary Cell Pulse Generator (non-rechargeable)

Adaptive Stimulation

Multi waveforms

04.05.01.02 – Rechargeable Pulse Generator

Adaptive Stimulation

Adaptive Stimulation, Multi waveform, Recharge protection, Unlimited Deep Discharge Battery,

Adaptive Stimulation, Unlimited Deep Discharge Battery

Adaptive Stimulation, Unlimited Deep Discharge Battery, 32 Electrode IPG

Integrated Leads

Multi waveform, Recharge protection

Multi waveform, Recharge protection, Unlimited deep discharge battery

Unlimited Deep Discharge Battery

Unlimited Deep Discharge Battery, 10kHz Stimulation

04.05.01.03 – Radio Frequency System

Dual Channel

04.05.02 – External Components

04.05.02.01 – Patient Programmer

Bluetooth

04.05.02.02 – Patient Programmer Antenna

04.05.02.03 – On/Off switching device

04.05.02.04 – Recharger

04.05.02.05 – External Neurostimulator

04.05.03 – Leads

04.05.03.01 – Permanent Lead

4 electrodes

8 electrodes

≥32 electrodes

greater than 8 and less than 32 electrodes

greater than 8 and less than 32 electrodes, Bifurcated proximal tail

04.05.03.02 – Trial Lead

04.05.04 – Lead Extension

04.05.05 – Accessories

04.05.05.01 – Revision Kits

04.05.05.02 – Plug

04.05.05.03 – Intraoperative Accessories

04.05.05.04 – Lead Delivery System

04.05.05.05 – Connectors and Cables

04.06 – INTRATHECAL DRUG DELIVERY SYSTEM

04.06.01 – Implantable Infusion Pump

Fixed Flow Rate

Variable Flow Rate

04.06.02 – Patient Programmer

Bluetooth

04.06.03 – Intrathecal Catheter

04.06.03.01 – One piece

04.06.03.02 – Two piece

Reinforced

04.06.04 – Accessories

04.06.04.01 – Revision Kit

04.06.04.02 – Refill/Catheter Access Kits

04.07 – NEUROSTIMULATION THERAPIES FOR SEIZURE CONTROL

04.07.01 – Vagal nerve stimulators

04.07.01.01 – Implantable pulse generator

04.07.01.02 – Lead

04.07.02 – Stereo Electroencephalography Guided Radiofrequency Thermocoagulation

04.07.02.01 – Lead

04.08 – NEURO INTERVENTION

04.08.01 – Stent

04.08.02 – Coils

04.08.03 – Assist Devices

04.08.03.01 – Catheters

04.08.03.02 – Coil detachment device

04.08.03.03 – Guidewire

04.08.03.04 – Vascular embolisation balloon

04.08.04 – Intrasaccular flow diverter

04.09 – Intracranial Pressure (ICP) Monitoring

04.09.01 – Transducer

Catheter

Skull Bolt

04.09.02 – Catheter with Transducer

04.10 – Cerebrospinal Fluid (CSF) Diversion

04.10.01 – External Ventricular Drain

Antibiotics

04.10.02 – External Lumbar Drainage

# SUFFIXES AND DEFINITIONS FOR NEUROSURGICAL

| Adaptive Stimulation | Senses patient body position and adjusts stimulation accordingly |
| --- | --- |
| Antibiotic | Contains or is covered with an antibiotic to prevent infection |
| Antimicrobial | Substance that kills or inhibits the growth of micro-organisms |
| Antisyphon function | Prevents unwanted drainage or transfer of a liquid |
| Biological | Includes tissue derived from humans and or animals |
| Coating | Includes a coating that minimises the likelihood of adhesions |
| Complex | Composed of many interconnected parts |
| Current steering | The lead has the capacity to shape the stimulation current in one particular direction rather than in all directions |
| Deep Discharge Battery | Allows frequent discharge to zero volts without causing early battery failure |
| Dual Channel | A system with the ability to simultaneously deliver two different levels of stimulation |
| External Components (e.g. Patient Programmer, On/Off switching device, Recharger, etc.), and Accessories used with Pulse Generators | Devices designed to be used with Implantable Pulse Generators (IPG) (Accessories and External Components designed to be used with External Pulse Generators (EPG) do not meet criteria for listing on the Prescribed List and accordingly are not considered to be eligible for listing in any of the PL groupings). |
| Fixed Flow Rate | The drug delivery flow rate is fixed at manufacture and is non-adjustable |
| Multi waveform | Capable of providing both tonic and burst stimulation |
| Recharge protection | The device features technology that prevents the battery from “dying” if the charge is frequently depleted |
| Variable Flow Rate | The drug delivery flow rate is able to be adjusted dependent on clinician preferences and patient needs |