## Prescribed List
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
AL071 | 01 - Ophthalmic | Hydrus Microstent | Intracanalicular scaffold, made from a biocompatible alloy, for the treatment of primary open angle glaucoma | 8 mm in length | ALCON LABORATORIES (AUSTRALIA) PTY LTD |  | Change to ARTG
YX001 | 03 - General Miscellaneous | Bendos Q Powered Articulating Endoscopic Handle Cartridges | Bendos Powered Articulating Endoscopic Handle Cartridge and Reload Cartridge, cutting blade, 6 staple rows, single use | Staple height (2.0 - 5.0) mm, staple line length (30 - 60)mm, articulating L&R upto 45 degrees | TOUCHSTONE MEDICAL SCIENCE PTY LTD |  | Change to Product name, Part, Description, Size
SA186 | 04 - Neurosurgical | Aspire SR Pulse Generator Model 106 | The 106 VNS therapy system is indicated for use as a adjunctive therapy in reducing the frequency of seizures in patients whose epileptic disorder is dominated by partial seizures (with or without secondary generalization) or generalized seizures that are refractory to seizure medications. Model 106 has the added feature of Autostim. In patients who experience Ictal Tachycardia which is defined as an increase in heart rate during a seizure specifically from baseline to a rate greater than 100 BPM and is at least 55% increase or 35 BPM increase from baseline delivering a therapeutic stimulation automatically delivered on detection of a physiological signal indicative of the onset of a seizure. | Lead receptacle - 0.126 in (3.2 mm) nominalDimensions -2.0 in x 2.0 in x 0.27 in (52 mm x 52 mm x 6.9 mm)Weight- 0.88 oz (25 g) | Livanova Australia Pty Limited |  | Change to ARTG, Size
BS452 | 05 - Urogenital | Axonics Stimulation Cable | Tined Lead Test Stimulation Cable or Needle Test Stimulation Cable for SNM trial and implant | One size only | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG, Description
JJ554 | 06 - Specialist Orthopaedic | DELTA Xtend | Delta Xtend CTA Head Extended Lip | 48 + 52; 21, 26mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
LH953 | 06 - Specialist Orthopaedic | Fitbone Intramedullary Lengthening System | Fitbone Partially and bi-cotical threaded IM nail Locking Screw, sterile and non sterile. | Diameter 4.0 - 4.5mm. Length 20 - 80mm. Standard & Revision, Short - Long Thread | LIFEHEALTHCARE PTY LIMITED |  | Change to ARTG, Description, Size
YL003 | 06 - Specialist Orthopaedic | O'Nil Proximal Humerus Plates Long and Extra Long | The O'Nil plate for proximal humerus is an optimal solution for the treatment of fractures of the humeral head. In the proximal part of the plate, the screws can be locked at different angles, providing maximum stability to the humeral head, ensuring excellent grip in osteoporotic bone and in multifragmentary fractures. The product range includes O'Nil long and extra-long humerus claw PGR proximal humerus plates, and extra-long PHF proximal humerus plates. | 16 holes or more | OSTEOTOMIE PTY LTD |  | Change to Description
PB057 | 06 - Specialist Orthopaedic | RadFix Distal Radius Plating System | RadFix Distal Radius Plating System 7 - 15 holes. VAL Styloid Targeting Plate VAL Volar Rim Plate VAL Mini Plate VAL Narrow / Wide Styloid Targeting Hemi Plate VAL Volar Rim Hemi Plate VAL Hemi Plate Ulna Side VAL Narrow Dorso-Ulna Corner Plate VAL Radial Column Plate with Dorsal Bracket VAL Radial Column Plate Distal Radius Locking Plate | 7 - 15 holes | AUSTRALIAN PACIFIC MEDICAL PTY LTD |  | Change to Product name, Description
HU206 | 06 - Specialist Orthopaedic | Variable Angle Proximal Tibial Plating System - Low Profile Bone Screws | Low Profile Cancellous Bone Screws | diameter 4.0mm and lengths 10-60mm. | ARTHREX AUSTRALIA PTY LTD |  | Change to Product name, Size
YU013 | 06 - Specialist Orthopaedic | Acumed 2.7mm Low-Profile Hexalobe Locking screws | Acumed 2.7 mm Low-Profile Hexalobe Locking screws. Available in both sterile and non-sterile versions. Designed to be used with Aculoc 2 wrist plating system, but the screws will fit other systems plates as well. | 2.7mm diameter, 8-60mm length | ACUMED ANZ PTY LTD |  | Change to Product name, Description, Size
YU016 | 06 - Specialist Orthopaedic | Acumed 2.7mm Low-Profile Hexalobe Non-Locking screws | Acumed 2.7 mm Low-Profile Hexalobe non-locking screws. Available in both sterile and non-sterile versions. Designed to be used with Aculoc 2 wrist plating system, but the screws will fit other systems plates as well. | 2.7mm diameter,8-60mm length | ACUMED ANZ PTY LTD |  | Change to Product name, Description, Size
SY651 | 06 - Specialist Orthopaedic | AO/ASIF Cortex Screws | Locking Head Screws | 2.4mm-2.7mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
YV001 | 06 - Specialist Orthopaedic | Surestitch | The UHMWPE Suture PEEK Button Meniscus Repair Implant is an all-inside meniscal repair device with two PEEK non-absorbable polymer implants, preloaded with UHMWPE sutures. The UHMWPE Suture PEEK Button Meniscus Repair Implant is preloaded with USP #3-0 UHMWPE suture whereas UHMWPE Suture PEEK Button Meniscus Repair Implant XL is preloaded with USP #2-0 suture. The adjustable depth control knob is used to define the needle piercing length in the meniscus prior to deployment of the implant. These meniscal repair devices are available in various needle curvature. | Up, Left, Right, Down, XL-Up, XL-Down, XL-Right, XL-Left, Flexi, XL-Flexi | GIGA MEDICAL TECHNOLOGY PTY LTD |  | Change to Size
JJ091 | 06 - Specialist Orthopaedic | Mini QUICKANCHOR Plus | Anchor with Suture | Anchor with Suture and Multiple size needles | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Product name, ARTG
JJ100 | 06 - Specialist Orthopaedic | Micro QUICKANCHOR Plus | Titanium Suture Anchor | 1.3 x 3.7mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Product name, ARTG
JJ421 | 06 - Specialist Orthopaedic | Microfix QuickAnchor Plus | Microfix QuickAnchor Plus with Orthocord sutures | Anchor with Suture and Multiple size needles | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Product name, ARTG, Description
JJ926 | 06 - Specialist Orthopaedic | MiniLok Anchor System | Suture Anchor | 2.3 mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG, Size
HW542 | 06 - Specialist Orthopaedic | ICONiX Anchor | ICONiX 1, 2, 3, 25 Anchor soft-tissue fixation | 1.4mm, 2.3mm | STRYKER AUSTRALIA PTY LTD |  | Change to Description
JJ945 | 06 - Specialist Orthopaedic | GRYPHON BR Instability Anchor | Suture Anchor | 3.0mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG, Size
MU239 | 06 - Specialist Orthopaedic | X-Twist Biocomposite Screw-In Suture Anchor | Biocomposite knotless suture anchor system; includes one or two sutures. | Diameter 4.75mm. 5.5mm, 6.25mm, Length 23mm | MEDACTA AUSTRALIA PTY. LTD. |  | Change to ARTG
MU205 | 06 - Specialist Orthopaedic | Orthobutton CL and FairFix CL Continuous Loops with Titanium Buttons | continuous loops made of braided ultra-high molecular weight polyethylene (UHMWPE) combined with additional passing sutures, and titanium button | 12 - 60 mm | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Product name, Description
MN369 | 06 - Specialist Orthopaedic | MILAGRO Small Bioabsorbable Interference Screw | Biocryl Rapide Interference screw system | Diameter 5-6 mm; Length 12-23 mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Product name, ARTG, Size
SF082 | 06 - Specialist Orthopaedic | Bone cement with vacuum mixing system | Bone cement with vacuum mixing system | 40 to 100gm | SIGNATURE ORTHOPAEDICS PTY LTD |  | Change to Group benefit
HK008 | 06 - Specialist Orthopaedic | Copal G+C | High-viscosity, radiopaque bone cement with gentamicin and clindamycin | 1x40 (42.7g polymer powder + 20mL monomer liquid) | Heraeus Medical Australia Pty Ltd |  | Change to Size
MN232 | 06 - Specialist Orthopaedic | Chronos Vivify Blocks and Wedges . | Bone Graft Substitute - bone void filler (blocks and wedges) in small pouches | 0-5cc | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Product name, Suffix, ARTG, Description,Change to Group benefit
SB010 | 07 - Plastic and Reconstructive | Neodent GM Abutment | Neodent GM Abutment Titanium (Mini Conical, Exact Mini Conical) | Height: 0.8mm to 5.5mm. Angle: 0, 17, 30, 45, 45 slim, 52 and 60 degrees | STRAUMANN PTY LTD |  | Change to Size
LH890 | 07 - Plastic and Reconstructive | Motiva Ergonomix Implant Matrix | SilkSurface Mini, Demi, Full, and Corse without QID gel filled silicone breast implant | 105cc to 475cc | LIFEHEALTHCARE PTY LIMITED |  | Change to Description, Size
SJ262 | 08 - Cardiac | Amplatzer Muscular and P.I. Muscular VSD Occluders | Self-expanding double disc devices made of nitinol wire for the occlusion of muscular ventricular septal defects (VSD) | 4 - 24mm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to ARTG
BS438 | 08 - Cardiac | WATCHMAN FLX PRO | Left Atrial Appendage Device | 20mm to 40mm | BOSTON SCIENTIFIC PTY LTD |  | Change to Size
SJ464 | 10 - Vascular | Cobalt Chromium Balloon Expandable Peripheral Stent | Cobalt Chromium | Diameter 4-7mm, Length 12-18mm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to ARTG, Size
BS059 | 10 - Vascular | Express Vascular LD Stent; Express Vascular SD Stent | Stainless Steel, Balloon Expanding Stent | Stent Diameters up to 10mm and lengths up to 60mm | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG
MC998 | 10 - Vascular | Endurant II AAA Aorto-Uni-Iliac | Endurant II Endoluminal Stent Graft System - AUI | Proximal diameter: 23 to 36mm; Distal diameter: 14mm; Covered length: 102mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Size
WQ009 | 11 - Hip | Individual Hip TiHA | Uncemented Collarless Femoral Stem | Patient-Matched Femoral Stems (Titanium alloy coated with porous titanium and coated with hydroxyapatite [Partial HA and Full HA coated], 12/14 taper | SYMBIOS ORTHOPAEDICS PTY LTD |  | Change to Size
DP124 | 11 - Hip | DePuy Femoral Head | CoCr Femoral Head Various Tapers & Neck Lengths | 22-32 mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
DY521 | 11 - Hip | Pinnacle Acetabular Shell | Acetabular cup with POROCOAT Porous Coating | 48 – 66 mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG, Description, Size
JJ653 | 11 - Hip | Pinnacle Hip System - Gription Cup | Porous metal acetabular cup | 38 - 72 mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG, Size
JJ509 | 12 - Knee | PFC Sigma Curved Plus XLK Insert | Tibial insert, UHMWPE, moderately cross linked | Sizes 1.5 – 6; 8 - 17.5mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Product name, ARTG, Size
DP155 | 12 - Knee | PFC Sigma Knee System femoral stem bolts | Bolts to connect femoral stem, straight and offset | Neutral +/- 2mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
JJ654 | 12 - Knee | PFC Sigma - Femoral Adaptor | Offset Adaptor | 5 degree | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG, Size
IY003 | 13 - Spinal | Katana Monoaxial Screw | Monoaxial/Uniplanar/Fenestrated Pedicle Screw | 4.5 - 7.5mm diameter 20 - 55mm length | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Description
IY133 | 13 - Spinal | Evolution Surgical Thoracolumbar Posterior Screw System Polyaxial Screw | Polyaxial Pedicle Screw & Polyaxial HA Screw | 4.5-10.5mm, 25-120mm | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Description, Size
IY134 | 13 - Spinal | Evolution Surgical Thoracolumbar Posterior Screw System Polyaxial Screw Cann. | Cannulated Polyaxial Pedicle Screws (Fenestrated, MIS, HA, Ti/Cocr) | 4.5-10.5mm, 20-120mm | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Description
IY116 | 13 - Spinal | KHEIRON Spinal Fixation System Sacral/Iliac Screw | Sacral/Iliac Screw | Diameter 6.5 - 10.5mm Length 30 - 110 mm | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Description, Size
IY129 | 13 - Spinal | Evolution Surgical Thoracolumbar Posterior Screw System Inline Connectors | Inline Connectors; W Connectors (Open, Closed, Hybrid); Domino Connectors (Open, Closed, Hybrid Single and Double); and Hybrid Single Open Domino W Connectors. Set Screw Included. | 5.5-6.0mm Rod Compatibility, 10-17mm, 40-50mm - (W, Inline, Single, Double, Domino, Hybrid) Variants | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Description, Size
IY130 | 13 - Spinal | Evolution Surgical Thoracolumbar Posterior Screw System Lateral Connector | Open and Closed Lateral/Offset Connector (with Set Screw to lock) | 25-70mm | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Description, Size
QQ666 | 13 - Spinal | Katana O-set Connectors | Offset Connector including set screw | 20mm-60mm | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Description, Size
IY024 | 13 - Spinal | Katana Rods | MIS Ti Straight/Curved, Ti Curved and Straight, Ti Curved SP R, Ti Straight (Long), and CoCr Curved Rods) | Length: 30mm - 500mm | EVOLUTION SURGICAL PTY LTD |  | Change to Description, Size
DU011 | 13 - Spinal | Scarlet AC-T and AC-Ti Cervical Cages with the Cervical Anchors and Bone Screws | Cervical Cages with Cervical Anchors and Bone Screws | Cages: Height: 5mm, 6mm, 7mm, 8mm, 9mm, 10mm, 11mm; Footprint: 12 x 15mm (Small); 14 x 17mm (Large); 16 x x18mm (Extra-large). Screws: Diameter: 3mm - 3.7mm; Length: 12 to 18mm. Anchors: Diameter: 3.7mm; Length: 10 to 14mm. | SPINEART AUSTRALIA PTY. LTD. |  | Change to Size