## Prescribed List
Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
ER863 | 8574 | EMERGO ASIA-PACIFIC PTY. LIMITED | Tandem Mobi System | The Tandem Mobi System (Pump) wirelessly pairs with compatible, digitally connected devices, including the Tandem Mobi Mobile App, which acts as the controller. The Pump, with Control-IQ+ technology enabled, can be used with a compatible continuous glucose monitor (CGM) to automatically increase, decrease, and suspend delivery of basal insulin based on CGM readings and predicted glucose values, and deliver correction boluses when needed. Tandem Mobi insulin pump, Tandem Mobi charging pad and USB-C charging pad cablepack are supplied as a single pack. A second accessory kit pack is also supplied as part of the Tandem Mobi system and comprises: Tandem Mobi System User Guide; Tandem Mobi pump case; Tandem Mobi adhesive sleeve (2-pack); Tandem Mobi adhesive sleeve Instructions for Use; AC wall mount USB charger; AC type I adapter. | Pump Pack: Pump: 5.13 cm x 3.73 cm x 1.42 cm (L x W x H); Cartridge 2 ml; Wireless charging pad, USB-C: 9.58 cm (diameter); Mobi USB Cable: 1.5 m | 520837 531153 531154 |  | November 2026 | New listing
MI560 | 3388 | MEDTRONIC AUSTRALASIA PTY LTD | LINQ II with BlueSync mobile remote monitoring | Insertable Cardiac Monitor with BlueSync mobile remote monitoring | 45.1 mm x 8mm x 4.2mm, 1.4cc | 391830 | The benefit payable for the billing code includes a component for remote monitoring services provided via a remote monitoring system or a smart device application. When the benefit is claimable in respect to this billing code, no additional or separate claims are allowed in respect to any billing codes listed in Part C group 08.16.02 –Remote Monitoring System - Implantable Cardiac Event Recorders. | November 2026 | New listing
MI558 | 1450 | MEDTRONIC AUSTRALASIA PTY LTD | MyCareLink Home Blue Sync 26900 | Electronic cellular patient monitor which gathers and transmits cardiac information from an implanted cardiac device (CIED) using Bluetooth Low Energy (BLE) communication technology to your health care professional for assessment | One size | 313825 | The Prescribed List reimbursement for the billing code is restricted to use of the device with the cardiac implantable electronic devices (CIEDs) such as pacemakers or implantable cardioverter defibrillators (ICDs) only. | November 2026 | New listing
MI559 | 1450 | MEDTRONIC AUSTRALASIA PTY LTD | MyCareLink Home Non-Wireless 26950 | Electronic cellular patient monitor which gathers and transmits cardiac information from an implanted cardiac device (CIED) using Telemetry A/B communication technology with your health care professional for assessment | One size | 313825 | The Prescribed List reimbursement for the billing code is restricted to use of the device with the cardiac implantable electronic devices (CIEDs) such as pacemakers or implantable cardioverter defibrillators (ICDs) only. | November 2026 | New listing
SJ508 | 2549 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | ViewFlex X ICE Catheter Sensor Enabled | ViewFlex X ICE Catheter is a sterile, single-use intracardiac echocardiography catheter designed to provide real-time intracardiac imaging for guidance and support of therapeutic cardiac ablation procedures, including catheter positioning, anatomical visualisation and monitoring during cardiac ablation treatment. | 9 F catheter size, 10 F introducer, 90 cm insertable length | 527990 |  | November 2026 | New listing
SJ507 | 4200 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | TactiFlex Duo Sensor-Enabled Ablation Catheter with Bi- or Uni-Directional Handle | TactiFlex Duo Sensor-Enabled Ablation Catheter with Bi- or Uni-Directional Handle is a sterile, single use, irrigated, contact force sensing intracardiac ablation catheter that supports electrophysiological mapping and delivers dual energy ablation (RF and pulsed field) when used with the appropriate generator. The catheter functions as a cardiac irreversible electroporation system catheter. | 7 F tip, 7.5 F shaft, and an 8 F distal section | 530108 530109 |  | November 2026 | New listing
ZZ118 | 1097 | AA-Med Pty Ltd | AtriClip Flex V | Epicardial clip device for left atrial appendage (LAA) exclusion in atrial fibrillation patients to reduce stroke risk, performed under direct visualization and in conjunction with other cardiac surgical procedures. | 35mm, 40mm, 45mm, 50mm | 354171 |  | November 2026 | New listing