## Prescribed List
November 2026 Prescribed List - Part C
Product Category | Sub Category | Product Group | Product Sub Group | Suffix | Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.02 - Insulin infusion pump (as 3.2.3.1) with integral calculator to determine boluses and active insulin | DE, SS | RB001 | 8077 | ROCHE DIABETES CARE AUSTRALIA PTY LIMITED | Accu-Chek Combo System | Insulin delivery device capable of remotely receiving and acting on information about blood glucose levels, performing bolus calculation and bolus advice on additional parameters than what is normally provided. | The Accu-Chek Combo System is only available in one size. | 214240 |  | May 2018
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.02 - Insulin infusion pump (as 3.2.3.1) with integral calculator to determine boluses and active insulin | DE, SS, MP | RB006 | 2375 | ROCHE DIABETES CARE AUSTRALIA PTY LIMITED | Accu-Chek Solo micropump - starter kit | Starter kit supply of insulin pump system to accommodate first year of use of Accu-Chek Solo micropump system. Starter kit includes insulin pump base components, blood glucose monitoring system handset control with integrated insulin bolus advisor (diabetes manager) and accessory pack. | Micropump: 68 x 40 x 15 mm Handset control (diabetes manager): 124 x 64 x 17 mm | 311431 |  | November 2019
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.03 - Device has capability to automatically adjust the insulin delivery based on continuous glucose monitoring data | DE, SS | AN018 | 8574 | AUSTRALASIAN MEDICAL & SCIENTIFIC LIMITED | t:slim X2 Insulin Pump with Control-IQ Technology | Ambulatory insulin infusion pump with real-time continuous glucose monitoring (CGM) capability and incorporating Control-IQ Technology. | One size only | 304681 |  | July 2022
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.03 - Device has capability to automatically adjust the insulin delivery based on continuous glucose monitoring data | DE, SS, ABD | ER863 | 8574 | EMERGO ASIA-PACIFIC PTY. LIMITED | Tandem Mobi System | The Tandem Mobi System (Pump) wirelessly pairs with compatible, digitally connected devices, including the Tandem Mobi Mobile App, which acts as the controller. The Pump, with Control-IQ+ technology enabled, can be used with a compatible continuous glucose monitor (CGM) to automatically increase, decrease, and suspend delivery of basal insulin based on CGM readings and predicted glucose values, and deliver correction boluses when needed. Tandem Mobi insulin pump, Tandem Mobi charging pad and USB-C charging pad cablepack are supplied as a single pack. A second accessory kit pack is also supplied as part of the Tandem Mobi system and comprises: Tandem Mobi System User Guide; Tandem Mobi pump case; Tandem Mobi adhesive sleeve (2-pack); Tandem Mobi adhesive sleeve Instructions for Use; AC wall mount USB charger; AC type I adapter. | Pump Pack: Pump: 5.13 cm x 3.73 cm x 1.42 cm (L x W x H); Cartridge 2 ml; Wireless charging pad, USB-C: 9.58 cm (diameter); Mobi USB Cable: 1.5 m | 520837 531153 531154 |  | November 2026 | New listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.03 - Device has capability to automatically adjust the insulin delivery based on continuous glucose monitoring data | DE, SS, ABD | MI452 | 8574 | MEDTRONIC AUSTRALASIA PTY LTD | MiniMed 780G Insulin Pump | MiniMed 780G Insulin Pump with SmartGuard advanced Hybrid Closed Loop technology capable of operating in Manual Mode or Auto Mode, with Bluetooth connectivity and continuous glucose monitoring capability. Provides 3 user selectable targets and can be set to automatically adjust delivery of basal insulin based on CGM. This includes automatically suspending insulin delivery or providing additional insulin delivery as required. | One size only. | 484825 484826 |  | November 2025
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.03 - Device has capability to automatically adjust the insulin delivery based on continuous glucose monitoring data | DE, SS, ABD | YA001 | 8574 | MYLIFE DIABETES CARE AUSTRALIA PTY LTD | mylife™ YpsoPump Insulin Pump System | The mylife™ YpsoPump Insulin Pump System is a BLE (bluetooth low energy) insulin pump which can be connected to a BLE Smart Phone and has Continuous Glucose Monitoring (CGM) capability. Smart Phone connection is via a secure pairing code, creating a large easy to read display for set-up and monitoring of the system. The system can be set to automatically adjust delivery of basal insulin based on CGM values with treat to target adaptive control. | One size only | 298274 |  | November 2023
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.06 - Insulin Infusion Pump - accessories subsequent annual supply |  | RB005 | 1900 | ROCHE DIABETES CARE AUSTRALIA PTY LIMITED | Accu-Chek Solo micropump subsequent supply | Subsequent supply of replaceable components of Accu-Chek Solo insulin pump system to accommodate a subsequent year usage after the initial year of use of Accu-Chek Solo (via Accu-Chek Solo micropump starter kit). | Micropump: 68 x 40 x 15 mm | 308702 |  | November 2019
03 - General Miscellaneous | 03.10 - Electronic Controlling Devices (Insulin) | 03.10.01 - Personal Diabetes Manager |  |  | II001 | 8077 | INSULET AUSTRALIA PTY LTD | Omnipod DASH® Insulin Management System - Personal Diabetes Manager (PDM) & Software only | An insulin pump system for the continuous subcutaneous delivery of insulin at set and variable rates that receives and stores external glucose information via a rechargeable Personal Diabetes Manager (PDM). The PDM wirelessly activates/deactivates, controls, directs and monitors operation of a tubeless wearable waterproof Pod via secure Bluetooth Low Energy communication, as well as serves as a bolus calculator. The PDM provides audio alarms, alerts and reminders related to insulin delivery and the Pod. The PDM handles all processes for operation of the system and displays up to 90 days of information including basal rates, bolus doses, carbohydrates, alarms and blood glucose entries that are entered manually from any BGM meter. | The Personal Diabetes Manager (PDM) is 6.3 cm wide x 13.0 cm long x 1.0 cm high) and weighs 106grams. | 344290 | The Prescribed List reimbursement for the billing code is payable no more frequently than once every 4 years. | March 2025
03 - General Miscellaneous | 03.10 - Electronic Controlling Devices (Insulin) | 03.10.02 - Personal Diabetes Manager with capability to automatically adjust the insulin delivery based on continuous glucose monitoring data |  |  | QQ717 | 8574 | INSULET AUSTRALIA PTY LTD | Omnipod 5 Automated Insulin Delivery System | The Omnipod 5 (OP5) Automated Insulin Delivery (AID) System includes the tubeless insulin Pod, the Omnipod 5 App on the Insulet provided controller, and the chosen compatible glucose sensor. The glucose sensor sends CGM values and trends to the Pod. The Pod houses the insulin pump and a microprocessor which holds the SmartAdjustTM Technology that uses CGM values to make decisions and automatically adjust the insulin delivered. The Pod or the sensor also sends the CGM value to the Omnipod 5 App. This is used to display the data and to manually send commands to the Pod for bolusing and for basal insulin doses when not operating in automated mode. | One size only | 455009 | The Prescribed List reimbursement for the billing code is payable no more frequently than once every 4 years. | March 2025
05 - Urogenital | 05.03 - Voiding Dysfunction Prostheses | 05.03.03 - Radiofrequency (RF) Delivery Devices for Transurethral Water Vapour Ablation |  |  | BS416 | 1950 | BOSTON SCIENTIFIC PTY LTD | Rezum | Single-use radiofrequency delivery device kit for treatment of BPH | One size only | 329141 |  | March 2025
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  |  | SJ481 | 2886 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Jot Dx | Insertable Cardiac Monitor - with integrated remote monitoring capability via the myMerlin smart device App, including accessories for insertion (an incision tool and an insertion tool) | 49 x 9.4 x 3.1 mm | 401857 |  | July 2023
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | Remote Monitoring Service for ICM | SJ501 | 3388 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Assert IQ with myMerlin Mobile Monitor | Insertable Cardiac Monitor with myMerlin mobile remote monitoring | 46.5mm x 9.4mm x 3.1mm and 49mm x 9.4mm x 4.4mm | 401858 401859 451345 451346 451347 | The benefit payable for the billing code includes a component for remote monitoring services provided via a remote monitoring system or a smart device application. When the benefit is claimable in respect to this billing code, no additional or separate claims are allowed in respect to any billing codes listed in Part C group 08.16.02 –Remote Monitoring System - Implantable Cardiac Event Recorders. | March 2026
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | i | BT247 | 2886 | BIOTRONIK AUSTRALIA PTY LIMITED | BIOMONITOR III m | Injectable cardiac monitor for continuous remote monitoring of patients with extended AF Detection | 77.5 mm x 8.6 mm x 4.6 mm; 4 g; 1.9 cm3 | 396023 |  | November 2023
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | i | QQ621 | 2886 | BIOTRONIK AUSTRALIA PTY LIMITED | BIOMONITOR IV | Injectable cardiac monitor for continuous remote monitoring of patients | Dimensions (WxHxL) (overall) 77.5 mm x 8.6 mm x 4.6 mm Weight 4 g Volume (overall) 1.9 cm3 | 445773 |  | November 2024
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  |  | BS417 | 2886 | BOSTON SCIENTIFIC PTY LTD | LUX-Dx™ | Insertable Cardiac Monitor | 7.2 mm x 44.8 mm x 4.0 mm, 1.2 cm3 | 411051 |  | November 2023
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | Remote Monitoring Service for ICM | BS432 | 3388 | BOSTON SCIENTIFIC PTY LTD | LUX-Dx II, LUX-Dx II+ | Insertable Cardiac Monitor with mobile remote monitoring | 7.2 mm x 44.8 mm x 4.0 mm, 1.2 cm3 | 466927 466928 | The benefit payable for the billing code includes a component for remote monitoring services provided via a remote monitoring system or a smart device application. When the benefit is claimable in respect to this billing code, no additional or separate claims are allowed in respect to any billing codes listed in Part C group 08.16.02 –Remote Monitoring System - Implantable Cardiac Event Recorders. | March 2025
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | i | MI141 | 2886 | MEDTRONIC AUSTRALASIA PTY LTD | Reveal LINQ | Insertable Cardiac Monitor | 44.8 mm x 7.2 mm x 4.0 mm,1.2 cm3 | 391831 |  | November 2023
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | i | MI438 | 2886 | MEDTRONIC AUSTRALASIA PTY LTD | Reveal LINQ II™ | Insertable Cardiac Monitor | 45.1 mm x 8mm x 4.2mm, 1.4cc | 391830 |  | November 2023
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | Remote Monitoring Service for ICM | MI560 | 3388 | MEDTRONIC AUSTRALASIA PTY LTD | LINQ II with BlueSync mobile remote monitoring | Insertable Cardiac Monitor with BlueSync mobile remote monitoring | 45.1 mm x 8mm x 4.2mm, 1.4cc | 391830 | The benefit payable for the billing code includes a component for remote monitoring services provided via a remote monitoring system or a smart device application. When the benefit is claimable in respect to this billing code, no additional or separate claims are allowed in respect to any billing codes listed in Part C group 08.16.02 –Remote Monitoring System - Implantable Cardiac Event Recorders. | November 2026 | New listing
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | SJ369 | 1450 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Merlin@Home wireless | Home cardiac monitor (RF) with landline, cellular and broadband connectivity | one size | 161670 |  | May 2018
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | SJ370 | 1450 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Merlin@Home Inductive | Home cardiac monitor (inductive) with landline, cellular and broadband connectivity | one size | 163472 |  | May 2018
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | BT246 | 1450 | BIOTRONIK AUSTRALIA PTY LIMITED | CardioMessenger Smart 4G | Bedside/Remote transmitter w/ pacemaker/ICD device life network access to Biotronik standard home monitoring data management service. | Length - 130mm, Width - 65mm, Height - 13mm Weight - 75g | 352258 |  | March 2021
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | BS294 | 1450 | BOSTON SCIENTIFIC PTY LTD | Latitude Communicator | Remote patient management system for implanted cardiac devices | One size only | 201875 230414 |  | May 2018
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | MI180 | 1450 | MEDTRONIC AUSTRALASIA PTY LTD | MyCareLink Patient Monitor | Electronic cellular patient monitor which gathers and transmits cardiac information from an implanted cardiac device (CIED) to your health care professional for assessment. | One size | 297224 |  | May 2018
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | MI196 | 1450 | MEDTRONIC AUSTRALASIA PTY LTD | MyCareLink Smart Patient Reader | Electronic cellular patient reader which gathers and transmits cardiac information from an implanted cardiac device (CIED) to your health care professional for assessment. | One size only | 235570 |  | May 2018
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | MI296 | 1450 | MEDTRONIC AUSTRALASIA PTY LTD | MyCareLink Relay Home Communicator | Electronic cellular (optional wifi) patient monitor which gathers and transmits cardiac information from an implanted cardiac device (CIED) to your health care professional for assessment | One size | 313825 |  | March 2019
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | MI558 | 1450 | MEDTRONIC AUSTRALASIA PTY LTD | MyCareLink Home Blue Sync 26900 | Electronic cellular patient monitor which gathers and transmits cardiac information from an implanted cardiac device (CIED) using Bluetooth Low Energy (BLE) communication technology to your health care professional for assessment | One size | 313825 | The Prescribed List reimbursement for the billing code is restricted to use of the device with the cardiac implantable electronic devices (CIEDs) such as pacemakers or implantable cardioverter defibrillators (ICDs) only. | November 2026 | New listing
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | MI559 | 1450 | MEDTRONIC AUSTRALASIA PTY LTD | MyCareLink Home Non-Wireless 26950 | Electronic cellular patient monitor which gathers and transmits cardiac information from an implanted cardiac device (CIED) using Telemetry A/B communication technology with your health care professional for assessment | One size | 313825 | The Prescribed List reimbursement for the billing code is restricted to use of the device with the cardiac implantable electronic devices (CIEDs) such as pacemakers or implantable cardioverter defibrillators (ICDs) only. | November 2026 | New listing
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | RF033 | 1450 | MICROPORT CRM PTY LIMITED | Smart Monitor | Monitoring Device for Smartview Remote Monitoring System | One size only | 350770 |  | July 2022
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | RF036 | 1450 | MICROPORT CRM PTY LIMITED | Smart Spot | Remote Monitoring System | One size only | 355435 |  | July 2021
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | RF038 | 1450 | MICROPORT CRM PTY LIMITED | SmartView Connect™ | Bluetooth Remote Monitoring Device | Monitor: 65 X118 X 15mm Docking Station: 84 X46 X 115mm | 379251 |  | March 2022
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.02 - Implantable Cardiac Event Recorders |  |  | QQ154 | 502 | BOSTON SCIENTIFIC PTY LTD | LUX-Dx Mobile Monitor | Mobile applications for patient monitoring and remote programming that run on a handheld mobile/smart device. LUX-Dx Clinic Assistant application is for healthcare professionals while myLUX patient application is intended for patients to interact with the system and their clinic and stay connected. The applications communicate with the LUX-Dx ICM via Bluetooth Low Energy (BLE) and the LATITUDE Server via cellular or Wi-Fi for collection and transmission of event, patient, and device data. | One size | 413400 |  | July 2024
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Abbott | SJ409 | 3700 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | FlexAbility Ablation Catheter | Sensor Enabled and Non-Sensor Enabled | D, F, J, D-F, F-J, D-D, F-F, J-J | 327822 327823 327824 327825 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Abbott | SJ410 | 3700 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | TactiCath™ Contact Force Ablation Catheter | Sensor Enabled and Non-Sensor Enabled catheter | DD, DF, FF, FJ, JJ, D, F. | 327316 327321 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Abbott | SJ465 | 3700 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | TactiFlex™ Ablation Catheter, Sensor Enabled™ | Contact Force Sensor Enabled | DD, DF, FF, FJ, JJ, D, F, J | 380981 380982 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Biotronik | BT223 | 3280 | BIOTRONIK AUSTRALIA PTY LIMITED | AlCath Flux G eXtra | Mapping and Ablation Cardiac Catheter, Advanced 3D irrigation (eXtra), Gold Tip(G) High Thermal Conduction Ablation, FullCircle Deflection | 7F , 110cm , 3.5mm irrigated gold tip | 193331 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Biotronik | BT224 | 3280 | BIOTRONIK AUSTRALIA PTY LIMITED | AlCath Flutter Flux G eXtra | Mapping and Ablation Cardiac Catheter, Gold Tip(G) High Thermal Conduction Ablation, Advanced 3D irrigation (eXtra), FullCircle Deflection, Optimised stability,control & length for flutter | 7F ,95cm , 3.5mm Gold tip | 221411 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Boston Scientific | BS361 | 3549 | BOSTON SCIENTIFIC PTY LTD | IntellaNav™ MiFi™ Open-Irrigated Ablation Catheter | IntellaNav™ Open-Irrigated, MiFi™ Mini-electrode Technology, Nav-abled | 110cm, shaft size 7.5F | 300198 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Boston Scientific | BS380 | 3549 | BOSTON SCIENTIFIC PTY LTD | Blazer™ Open Irrigated Ablation Catheter | Open Irrigated Ablation bidirectional catheter with Total Tip Cooling™ Design technology | 110cm, shaft size 7.5F | 186659 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Boston Scientific | BS385 | 3549 | BOSTON SCIENTIFIC PTY LTD | IntellaTip MiFi™ Open Irrigated Ablation Catheter | Intella MiFi™ Mini- electrode Technology; Open-Irrigated | 110cm, shaft size 7.5F | 231654 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Boston Scientific | BS405 | 3549 | BOSTON SCIENTIFIC PTY LTD | INTELLANAV STABLEPOINT | Open Irrigated Ablation bidirectional catheter with Total Tip Cooling Design technology; Contact Force Sensing | 110cm, shaft size 7.5F | 354210 |  | November 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | JJM, nav, cf | MN238 | 3700 | JOHNSON & JOHNSON MEDICAL PTY LTD | CARTO System Therapeutic Catheters, THERMOCOOL SMARTTOUCH | Navigation, contact-force, irrigated | One size only | 184035 198574 233354 233355 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | JJM, non-nav | MN301 | 2000 | JOHNSON & JOHNSON MEDICAL PTY LTD | THERMOCOOL | Non-nav, irrigated | Various | 149552 155131 178844 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | JJM, nav, cf | MN304 | 3700 | JOHNSON & JOHNSON MEDICAL PTY LTD | CARTO System Therapeutic Catheters, QDOT MICRO | Navigation, contact-force, irrigated, very high-power short-duration | One size only | 345779 345780 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Microport | RF024 | 3500 | MICROPORT CRM PTY LIMITED | FireMagic 3D Irrigated Ablation Catheter | Irrigated ablation catheter with a deflectable tip containing an array of platinum electrodes | 8 French 105cm | 333751 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.02 - Patch | Abbott 2 | SJ408 | 449 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | EnSite Patch | Surface Electrodes | Patch/Kit | 274633 |  | November 2026 | Change to Suffix, ARTG,Change to Group benefit
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.02 - Patch | Boston Scientific | BS360 | 200 | BOSTON SCIENTIFIC PTY LTD | Rhythmia Location Reference Patch Kit, Opal Location Reference Patch Kit | Location Reference Patch Kit | 50mm diameter | 282996 |  | November 2026 | Change to Product name, Description
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.02 - Patch | JJM, nav | MN239 | 499 | JOHNSON & JOHNSON MEDICAL PTY LTD | CARTO Reference | External Reference | One size only | 157549 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.02 - Patch | Medtronic | MI555 | 499 | MEDTRONIC AUSTRALASIA PTY LTD | Impedance Localization Patch Kit | Impedance localisation patch kit (consisting of 6 patches) to be used with the Affera Integrated Mapping System | One size only, 6 patches | 521539 |  | July 2026
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.02 - Patch | Medtronic | QQ549 | 499 | MEDTRONIC AUSTRALASIA PTY LTD | Location Reference Patch Kit | Mapping system Location Reference Patch Kit | One size only | 464949 |  | July 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.02 - Patch | Microport | RF023 | 399 | MICROPORT CRM PTY LIMITED | Columbus Reference Patch | Adhesive patch with embedded magnetic location sensors | One size only | 323487 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott | SJ404 | 2300 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Inquiry Optima Diagnostic Catheter | mapping catheter | 5F-8F | 136233 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott | SJ405 | 2300 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Reflexion Spiral Variable Radius Catheter | mapping catheter | 5F-8F | 145053 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott 2 | SJ406 | 1750 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Advisor mapping catheter | mapping catheter | 5F-8F | 327686 327732 327761 334635 334636 |  | November 2026 | Change to Suffix, ARTG, Benefit
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott | SJ407 | 2300 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Afocus II EB Inquiry Steerable Catheter | mapping catheter | 5F-8F | 136211 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott - 20 pole | SJ456 | 1549 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Abbott Medical electrophysiology mapping and ablation support catheters – 20 pole | Steerable electrophysiology catheter (Livewire, Inquiry) used for intracardiac mapping and to support therapeutic catheter ablation procedures | 20 pole | 398717 458586 |  | July 2026
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott - 10 pole | SJ457 | 829 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Abbott Medical electrophysiology mapping catheters - 10 pole | Steerable mapping catheter Livewire, Inquiry | 10 pole | 398717 458586 |  | March 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott - 4/5 pole | SJ458 | 629 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Abbott Medical Electrophysiology mapping catheter - 4/5 pole | Steerable mapping catheter - Inquiry | 4 pole, 5 pole | 398717 |  | March 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott fix 4 pole | SJ466 | 225 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Supreme Electrophysiology Catheters | Abbott Medical fixed diagnostic mapping catheter 4 pole | Size(s):* various | 463486 |  | July 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott fix 6-10 pole | SJ467 | 365 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Supreme and Response Electrophysiology Catheters | Abbott Medical fixed diagnostic mapping catheter 6-10 pole | various | 463486 463487 |  | July 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott 2 | SJ493 | 2250 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Advisor HD Grid X Mapping Catheter, Sensor Enabled | Mapping Catheter - Sensor Enabled | 8F | 478489 |  | November 2026 | Change to Suffix,Change to Group benefit
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Biotronik - 4 & 10 pole | BT248 | 885 | BIOTRONIK AUSTRALIA PTY LIMITED | ViaCath 4 & 10 Pole | Steerable Diagnostic Catheter | 6F , 110cm , 2mm Electrode tip , Electrode spacing's - various, Curve- standard, large, Extra large | 281000 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Biotronik - 20 pole | BT250 | 1265 | BIOTRONIK AUSTRALIA PTY LIMITED | ViaCath 20- Pole | Steerable Diagnostic Catheter | 6F , 90cm, 2,8,2mm electrode spacing's, 2mm tip , Curve - Extra Large | 281001 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Biotronik - MultiCath | BT251 | 675 | BIOTRONIK AUSTRALIA PTY LIMITED | MultiCath 4 ,5 & 10 Pole | Steerable Diagnostic Catheter | 4,5, 6F ; 80,100,110cm length : Various Types ; Various Electrode Spacing's ; Curve - Standard or Soft Tipped. | 280999 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Boston Scientific | BS359 | 1900 | BOSTON SCIENTIFIC PTY LTD | IntellaMap Orion High Resolution Mapping Catheter | High resolution 64-electrode steerable mapping catheter | 8.5F, 115cm | 271032 |  | November 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Boston Scientific. Deflecting, 20-pole | BS392 | 1265 | BOSTON SCIENTIFIC PTY LTD | Blazer Dx-20 | Steerable Diagnostic Catheter | Various | 170631 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Boston Scientific, Deflecting, 10-pole | BS393 | 750 | BOSTON SCIENTIFIC PTY LTD | Polaris X | Steerable Diagnostic Catheters | Various | 164184 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Boston Scientific, Deflecting, 10-pole | BS396 | 750 | BOSTON SCIENTIFIC PTY LTD | Dynamic XT | Steerable Diagnostic Catheters | Various | 281428 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Boston Scientific, Fixed | BS398 | 225 | BOSTON SCIENTIFIC PTY LTD | Woven, WovenFlexi | Fixed Curve Diagnostic Catheter | Various | 281436 281442 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Boston Scientific, Deflecting | BS399 | 400 | BOSTON SCIENTIFIC PTY LTD | Dynamic | Steerable Diagnostic Catheter | 110 cm, 6F | 281427 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Boston Scientific, Fixed | BS401 | 225 | BOSTON SCIENTIFIC PTY LTD | Viking, Viking Soft Tip | Fixed Curve Diagnostic Catheters | Various | 281431 285279 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Khelix Loop | XR001 | 2500 | CATHRX LTD | Khelix Loop Steerable Electrophysiology Catheter | Steerable Loop PV Mapping Catheter 7F | Various | 278923 |  | March 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Khelix, fix | XR002 | 225 | CATHRX LTD | Khelix Fixed Electrophysiology Catheter | The Khelix Fixed Electrophysiology Catheters are designed to facilitate electrophysiological mapping of the heart. It consists of a catheter shaft containing an array of platinum-iridium electrodes for stimulation and recording. The device is available in a number of different electrode configurations and curve types. The Khelix Fixed Electrophysiology Catheter interfaces with standard electrophysiological recording equipment, such as ECG monitoring equipment, impedance based navigational equipment and cardiac stimulation equipment, via the Khelix Diagnostic Extension Cable (supplied separately). Khelix Fixed Electrophysiology Catheter is intended to be used with the extension cable (supplied separately). | Diameter 6F, Length 115cm, various number of electrodes, and featuring active tip | 278920 |  | November 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Khelix, Steerable 10 pole | XR003 | 730 | CATHRX LTD | Khelix Steerable Electrophysiology Catheter 10 Pole | The Khelix Steerable Electrophysiology Catheters are designed to facilitate electrophysiological mapping of the heart. Each unit consists of a catheter shaft equipped with an array of platinum-iridium electrodes for both stimulation and recording. The catheters are available in various electrode configurations and curve types. The distal tip can be deflected in one direction by pushing the deflection knob. The tip is straightened by returning the knob to the original position. Khelix Steerable Electrophysiology Catheter interfaces with standard electrophysiological recording equipment, such as ECG monitoring equipment, impedance based navigational equipment and cardiac stimulation equipment, via the Khelix Diagnostic Extension Cable (supplied separately). | Shaft diameter 6F, Length 115cm, various number of electrodes (4 - 10), connector 10 poles and featuring either active tip or passive tip | 278921 |  | November 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Khelix Steerable 20 pole | XR004 | 1250 | CATHRX LTD | Khelix Steerable Electrophysiology Catheter 20 Pole | The Khelix Steerable Electrophysiology Catheters are designed to facilitate electrophysiological mapping of the heart. Each unit consists of a catheter shaft equipped with an array of platinum-iridium electrodes for both stimulation and recording. The catheters are available in various electrode configurations and curve types. They are compatible with standard electrophysiological recording equipment, including ECG monitoring systems, impedance-based navigation systems, and cardiac stimulation equipment, via the Khelix Diagnostic Extension Cable (sold separately). | Shaft diameter 6F, Length 115cm, various number of electrodes (10 - 20), connector 20 poles, and featuring either active tip or passive tip | 278921 |  | November 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, nav, defl, hd | MN240 | 2200 | JOHNSON & JOHNSON MEDICAL PTY LTD | LASSO/ PENTARAY | Circular/High Density | Various | 121901 122187 145997 203362 231772 278955 278956 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, fix | MN300 | 225 | JOHNSON & JOHNSON MEDICAL PTY LTD | WEBSTER | Non-nav, fixed HIS diagnostic | One size only | 145984 219254 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, deflect, 10-pole | MN302 | 750 | JOHNSON & JOHNSON MEDICAL PTY LTD | WEBSTER | Non-nav, deflectable, 10-pole CS diagnostic | Various | 145984 162172 219252 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, defl | MN303 | 400 | JOHNSON & JOHNSON MEDICAL PTY LTD | WEBSTER | Non-nav, deflectable diagnostic, less than 10-pole | Various | 145984 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, fix | MN307 | 225 | JOHNSON & JOHNSON MEDICAL PTY LTD | WEBSTER Fixed Catheter | Non-navigational, fixed curve diagnostic catheter | Various | 145985 146266 |  | March 2023
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, nav, defl, 10-pole | MN311 | 799 | JOHNSON & JOHNSON MEDICAL PTY LTD | CARTO System Diagnostic Catheters, DECANAV | Navigation, deflectable, 10-pole diagnostic | Various | 217338 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, nav, defl, hd | MN370 | 2200 | JOHNSON & JOHNSON MEDICAL PTY LTD | CARTO System Diagnostic Catheters, OCTARAY | High Density Mapping Catheter | Various | 357290 |  | November 2023
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, nav, defl, hd | QQ630 | 2200 | JOHNSON & JOHNSON MEDICAL PTY LTD | CARTO System Diagnostic Catheters, OPTRELL | High Density Paddle Mapping Catheter | Catheter: 36 electrodes, 48 electrodes Shape: D-F curves, F-J curves | 444051 |  | November 2024
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Microport | RF025 | 2500 | MICROPORT CRM PTY LIMITED | EasyLoop Circular Mapping Catheter | Diagnostic pulmonary vein catheter for cardiac electrophysiological mapping | 7 French 115cm | 332882 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Microport, Fix | RF039 | 225 | MICROPORT CRM PTY LIMITED | EasyFinder™ | Non-navigational fixed curve diagnostic catheter | Length: 60-115cm Diameter: 5-6Fr | 339195 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | MicroPort, Steerable | RF040 | 629 | MICROPORT CRM PTY LIMITED | EasyFinder™ | Steerable diagnostic catheter | Length 115cm 6Fr | 339196 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | MicroPort, deflect, 10-pole | RF041 | 750 | MICROPORT CRM PTY LIMITED | EasyFinder™ | Non-navigational defelectable, 10-pole diagnostic catheter | 115cm, 6Fr | 339196 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | SJ430 | 900 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Abbott Non Irrigated Ablation Catheters – 8mm | Non Irrigated Ablation catheter | 8mm tip | 482926 |  | November 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | SJ431 | 900 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Abbott Non Irrigated Ablation Catheters – 4mm | Non Irrigated Ablation catheter | 4mm tip | 482985 |  | November 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | BT222 | 900 | BIOTRONIK AUSTRALIA PTY LIMITED | AlCath G FullCircle | Mapping and Ablation Cardiac Catheter, Gold Tip(G) High Thermal Conduction Ablation, FullCircle Deflection, Standard or Long Tip. | 7F, 110cm , 4 mm Tip Gold (G) and 8mm (LT) Long Tip Gold(G) | 281003 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | BT225 | 900 | BIOTRONIK AUSTRALIA PTY LIMITED | AlCath Flutter LT G | Mapping and Ablation Cardiac Catheter, Gold Tip(G) High Thermal Conduction Ablation, FullCircle Deflection, Long 8mm Tip (LT), Optimised stability,control & length for flutter | 7F , 95cm , 8mm(LT) gold tip | 221412 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | BS375 | 900 | BOSTON SCIENTIFIC PTY LTD | Blazer II | Non-irrigated temperature ablation catheters | 104-115 cm, shaft size 6-7F | 164506 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | BS377 | 900 | BOSTON SCIENTIFIC PTY LTD | Blazer Prime | Non-irrigated ablation catheter | 104-115 cm, 7F | 179887 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | BS378 | 900 | BOSTON SCIENTIFIC PTY LTD | Blazer II XP | Non-irrigated ablation catheters | 104-115 cm, 8F | 164229 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | BS386 | 900 | BOSTON SCIENTIFIC PTY LTD | IntellaNav MiFi XP | Non-irrigated ablation catheter with 3 mini-electrodes (MiFi), navigation enabled | 110 cm, shaft size 7F | 289500 |  | November 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | BS391 | 900 | BOSTON SCIENTIFIC PTY LTD | IntellaNav ST | Non-irrigated temperature ablation catheters; navigation enabled | 110 cm, 7F | 354210 |  | November 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | MN277 | 900 | JOHNSON & JOHNSON MEDICAL PTY LTD | CELSIUS | 4mm non-nav, non-irrigated | Various | 135671 135732 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | MN281 | 900 | JOHNSON & JOHNSON MEDICAL PTY LTD | CARTO System Therapeutic Catheters, NAVISTAR | 4mm navigation, non-irrigated | One size only | 135672 135731 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | MI428 | 900 | MEDTRONIC AUSTRALASIA PTY LTD | RF Marinr | The Medtronic RF Marinr catheters are steerable, flexible, radiopaque ablation catheters, designed for intracardiac radiofrequency ablation. The catheters have intracardiac recording and stimulation capabilities. | 5Fr, 7Fr | 202411 202423 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.04 - Non-irrigated cardiac ablation catheter |  | RF032 | 900 | MICROPORT CRM PTY LIMITED | FireMagic RF Ablation Catheter | Flexible insulative radiofrequency ablation catheter with a deflectable tip | 7 French 90-115cm | 333859 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.05 - Intracardiac Electrophysiology Catheter |  | SJ455 | 2549 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | ViewFlex™ Xtra ICE mapping Catheter | Intracardiac Echocardiography (ICE) Catheter | 9 F catheter size, 10 F introducer, 90cm insertable length | 214203 |  | July 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.05 - Intracardiac Electrophysiology Catheter |  | SJ508 | 2549 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | ViewFlex X ICE Catheter Sensor Enabled | ViewFlex X ICE Catheter is a sterile, single-use intracardiac echocardiography catheter designed to provide real-time intracardiac imaging for guidance and support of therapeutic cardiac ablation procedures, including catheter positioning, anatomical visualisation and monitoring during cardiac ablation treatment. | 9 F catheter size, 10 F introducer, 90 cm insertable length | 527990 |  | November 2026 | New listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.05 - Intracardiac Electrophysiology Catheter | Boston Scientific | BS394 | 1550 | BOSTON SCIENTIFIC PTY LTD | Ultra ICE | Intracardiac Electrophysiology Catheter | One size | 284615 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.05 - Intracardiac Electrophysiology Catheter | JJM | MN333 | 2200 | JOHNSON & JOHNSON MEDICAL PTY LTD | SOUNDSTAR | 3D Ultrasound Diagnostic Catheter | One size only | 221253 |  | March 2022
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.02 - Cryoablation | 08.18.02.01 - Ablation Catheter |  | MI301 | 5100 | MEDTRONIC AUSTRALASIA PTY LTD | Arctic Front Advance Cardiac CryoAblation Catheter / Pro | A flexible, over-the-wire balloon catheter used to ablate cardiac tissue | 23mm, 28mm | 306567 396019 |  | July 2023
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.02 - Cryoablation | 08.18.02.01 - Ablation Catheter | Medtronic | MI399 | 3550 | MEDTRONIC AUSTRALASIA PTY LTD | Freezor Cardiac Cryoablation Catheters | Freezor, Freezor Xtra, Freezor Max: Focal Cryoablation Catheters | 7Fr, 9Fr | 412450 |  | July 2026
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.02 - Cryoablation | 08.18.02.02 - Mapping Catheter |  | MI302 | 1299 | MEDTRONIC AUSTRALASIA PTY LTD | Achieve / Achieve Advance Mapping Catheter | Intra-cardiac electrophysiology circular mapping catheter | 15mm, 20mm, 25mm | 188676 231648 286735 |  | March 2021
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.03 - Pulsed Field Ablation | 08.18.03.01 - Ablation and Mapping Catheter | Abbott | SJ504 | 6399 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | The Volt PFA Catheter, Sensor Enabled | A sterile, single-use balloon basket catheter for cardiac mapping, pacing, and pulsed field ablation in atrial fibrillation patients. | Distal Diameter, 28mm | 521745 |  | July 2026
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.03 - Pulsed Field Ablation | 08.18.03.01 - Ablation and Mapping Catheter | Abbott 2 | SJ507 | 4200 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | TactiFlex Duo Sensor-Enabled Ablation Catheter with Bi- or Uni-Directional Handle | TactiFlex Duo Sensor-Enabled Ablation Catheter with Bi- or Uni-Directional Handle is a sterile, single use, irrigated, contact force sensing intracardiac ablation catheter that supports electrophysiological mapping and delivers dual energy ablation (RF and pulsed field) when used with the appropriate generator. The catheter functions as a cardiac irreversible electroporation system catheter. | 7 F tip, 7.5 F shaft, and an 8 F distal section | 530108 530109 |  | November 2026 | New listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.03 - Pulsed Field Ablation | 08.18.03.01 - Ablation and Mapping Catheter | Boston Scientific | BS415 | 6399 | BOSTON SCIENTIFIC PTY LTD | FARAPULSE Pulsed Field Ablation System | Pulsed Field Ablation (PFA) System - FARAWAVE PFA Catheter | Distal Diameter 31 - 35 mm | 443310 485052 |  | November 2024
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.03 - Pulsed Field Ablation | 08.18.03.01 - Ablation and Mapping Catheter | Boston Scientific | BS431 | 6399 | BOSTON SCIENTIFIC PTY LTD | FARAWAVE NAV | Navigation enabled FARAWAVE Pulsed Field Ablation catheter | Distal Diameter 31 - 35 mm | 469731 |  | March 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.03 - Pulsed Field Ablation | 08.18.03.01 - Ablation and Mapping Catheter | Boston Scientific | BS454 | 4299 | BOSTON SCIENTIFIC PTY LTD | FARAPOINT Pulsed Field Ablation Catheter | The FARAPOINT Pulsed Field Ablation Catheter is a single-use, bi-directional, steerable catheter with magnetic tracking, intended for the delivery of pulsed field energy for cardiac ablation and mapping. | 8F, usable length 115 cm, number of electrodes: 4, electrode spacing: 1.5 mm – 6.0 mm – 1.5 mm, tip diameter: 2.5 mm | 522268 |  | March 2026
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.03 - Pulsed Field Ablation | 08.18.03.01 - Ablation and Mapping Catheter | Johnson and Johnson | JJ977 | 6399 | JOHNSON & JOHNSON MEDICAL PTY LTD | VARIPULSE Pulsed Field Ablation System | VARIPULSE variable-loop multielectrode bi-directional catheter | Variable loop diameter, 25- 35 mm | 472885 |  | March 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.03 - Pulsed Field Ablation | 08.18.03.01 - Ablation and Mapping Catheter | Johnson & Johnson | JJ984 | 4199 | JOHNSON & JOHNSON MEDICAL PTY LTD | Dual Energy THERMOCOOL SMARTTOUCH SF | PFA/RF dual energy, irrigated, contact-force sensing catheter for cardiac electrophysiological mapping and ablation. | Unidirectional, bidirectional; 3.5 mm tip | 490706 490707 |  | November 2026 | Change to Suffix, ARTG, Description,Change to Group benefit
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.03 - Pulsed Field Ablation | 08.18.03.01 - Ablation and Mapping Catheter | Medtronic | QQ750 | 6399 | MEDTRONIC AUSTRALASIA PTY LTD | Sphere-9 Catheter | The Sphere-9 Catheter is a sterile, single-use, bi-directional, 8F deflectable dual energy catheter (pulsed-field and radiofrequency) for cardiac ablation and mapping | Distal Diameter 9 mm | 468766 |  | July 2025
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.03 - Pulsed Field Ablation | 08.18.03.01 - Ablation and Mapping Catheter | Medtronic | QQ764 | 6399 | MEDTRONIC AUSTRALASIA PTY LTD | PulseSelect Pulsed Field Ablation (PFA) catheter | Pulse Select is a 9Fr catheter with 25mm diameter circular end with fixed electrode spacing which allows for uniform waveform distribution | Distal Diameter 25 mm | 461995 |  | November 2024
08 - Cardiac | 08.19 - Percutaneous Coronary Interventions | 08.19.01 - Coronary Drug Coated Balloon Catheters |  |  | BB409 | 854 | B BRAUN AUSTRALIA PTY LTD | SeQuent Please/SeQuent Please NEO | Drug eluting balloon catheter for percutaneous transluminal coronary angioplasty (PTCA) | SeQuent Please: Diameter (mm) 2.0 to 4.0 Length (mm) 10.0 to 30.0 SeQuent Please NEO: Diameter (mm) 2.0 to 4.0 Length (mm) 10.0 to 40.0 | 181392 |  | November 2023
08 - Cardiac | 08.19 - Percutaneous Coronary Interventions | 08.19.01 - Coronary Drug Coated Balloon Catheters |  |  | BS419 | 854 | BOSTON SCIENTIFIC PTY LTD | Agent Paclitaxel-Coated Balloon Catheter | Coronary angioplasty balloon catheter, drug-eluting | Length (mm) 12-40; Diameter (mm) 2.00-4.00 | 445863 |  | July 2026
08 - Cardiac | 08.19 - Percutaneous Coronary Interventions | 08.19.01 - Coronary Drug Coated Balloon Catheters |  |  | QQ236 | 854 | MEDTRONIC AUSTRALASIA PTY LTD | Prevail DCB | Paclitaxel-Coated PTCA Balloon Catheter | Length (mm): 10-30; Diameter (mm): 2-4 | 427408 |  | July 2024
08 - Cardiac | 08.19 - Percutaneous Coronary Interventions | 08.19.01 - Coronary Drug Coated Balloon Catheters |  |  | TX073 | 854 | TELEFLEX MEDICAL AUSTRALIA PTY LTD | Pantera Lux | Coronary Drug-Coated Balloon Catheter | Diameter (mm) - 2.0 to 4.0 Length (mm) -10 to 30 | 422261 |  | July 2026
09 - Cardiothoracic | 09.08 - Cardiac Assisted Fixation Devices | 09.08.02 - Surgical closure devices (atrial appendage) |  |  | ZZ118 | 1097 | AA-Med Pty Ltd | AtriClip Flex V | Epicardial clip device for left atrial appendage (LAA) exclusion in atrial fibrillation patients to reduce stroke risk, performed under direct visualization and in conjunction with other cardiac surgical procedures. | 35mm, 40mm, 45mm, 50mm | 354171 |  | November 2026 | New listing
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.01 - Monopolar | Medtronic | MI309 | 2876 | MEDTRONIC AUSTRALASIA PTY LTD | Cardioblate® Surgical Ablation Pen XL | The Cardioblate® Surgical Ablation Pen XL facilitates cardiac ablation in areas that are difficult to ablate with a bipolar device. | One size only | 140537 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.01 - Monopolar | Medtronic | MI554 | 2876 | MEDTRONIC AUSTRALASIA PTY LTD | Cardioblate Pen FT | Monopolar radio-frequency catheter-pen for point-by-point cardiac ablation compatible with the Valleylab FT10 FT series energy platform | 8 cm | 377934 |  | July 2026
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.01 - Monopolar | Medtronic | QQ246 | 2876 | MEDTRONIC AUSTRALASIA PTY LTD | Cardioblate XL Pen VLFT | Monopolar radio-frequency catheter-pen for point-by-point cardiac ablation compatible with the Valleylab FT10 FT series energy platform | One size only | 377935 |  | July 2024
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.02 - Bipolar | AA-Med - Isolator Synergy | ZZ055 | 4200 | AA-Med Pty Ltd | ATRICURE ISOLATOR SYNERGY RF CLAMPS | Surgical Radio Frequency (RF) Clamps for Atrial Fibrillation surgery | Short, Long | 163534 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.02 - Bipolar | AA-Med - Isolator Synergy | ZZ056 | 4200 | AA-Med Pty Ltd | Isolator Synergy Access | Articulating Surgical Radio Frequency (RF) Clamp for Atrial Fibrillation Surgery | One size only | 167710 297560 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.02 - Bipolar | AA-Med - Coolrail | ZZ064 | 2600 | AA-Med Pty Ltd | ATRICURE COOLRAIL LINEAR PEN | Surgical Radio Frequency (RF) Irrigated Linear Pen for Atrial Fibrillation surgery | One size only | 326625 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.02 - Bipolar | AA-Med - Isolator Linear Pen | ZZ065 | 2000 | AA-Med Pty Ltd | Atricure Isolator Linear Pen | Surgical Radio Frequency (RF) Isolator Linear Pen for Atrial Fibrillation surgery | One size only | 326626 326627 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.02 - Bipolar | AA - Med – Isolator encompass | ZZ116 | 6399 | AA-Med Pty Ltd | Isolator Synergy Encompass Clamp – OLH, OSH with Glidepath Magnetic Guide GPM100 | Bipolar radiofrequency (RF) surgical cardiac ablation device comprising stainless steel electrode clamps designed to complete a box lesion around all four pulmonary veins, supplied and used together with the Glidepath Magnetic Guide GPM100 single-use surgical accessory. | Ablation surface length 83 and 106mm; Jaw opening 27 and 37mm | 489549 |  | July 2026
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.02 - Bipolar | Medtronic | MI308 | 3523 | MEDTRONIC AUSTRALASIA PTY LTD | Cardioblate BP2 RF Surgical Ablation Device | The Cardioblate BP2 RF Surgical Ablation devices feature dual electrodes for the delivery of irrigated RF energy. iRF technology combines saline to facilitate treatment | Standard, Low Profile | 140537 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.02 - Bipolar | Medtronic | QQ243 | 3523 | MEDTRONIC AUSTRALASIA PTY LTD | Cardioblate BP2 surgical ablation device | Valleylab FT10 FT series energy platform compatible bipolar RF ablation catheter with saline irrigation and choice of standard or low-profile jaw designs | Standard, Low Profile | 378230 378231 |  | July 2024
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.03 - System | AA-Med Episense | ZZ080 | 6040 | AA-Med Pty Ltd | EPi-Sense Guided Coagulation System with VisiTrax Device CDK-1413 | Surgical Radio Frequency (RF) catheter for Atrial Fibrillation surgery | EPi-Sense Probe: 3cm (end effector) | 347670 |  | March 2022
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.03 - System | Medtronic - Cardioblate Gemini | MI310 | 6040 | MEDTRONIC AUSTRALASIA PTY LTD | Cardioblate® Gemini® Surgical Ablation System | The Cardioblate® Gemini® Surgical Ablation System is designed for minimally invasive ablation procedures. Gemini-s combines the efficacy of irrigated RF energy through a bipolar jaw, to facilitate deeper energy penetration, with real time measured customised energy delivery for greater confidence in achieving transmural cardiac lesions. | One size only | 153878 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.03 - System | Medtronic - Cardioblate BP2 | MI312 | 4614 | MEDTRONIC AUSTRALASIA PTY LTD | Cardioblate® BP2 RF Surgical Ablation System | The Cardioblate® BP2 RF Surgical Ablation system features dual electrodes for the delivery of irrigated RF energy. iRF technology combines saline to facilitate treatment | One size only | 146949 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.03 - System | Medtronic - Cardioblate BP2 | QQ244 | 4614 | MEDTRONIC AUSTRALASIA PTY LTD | Cardioblate BP2/PEN FT System | The Cardioblate BP2/PEN FT System includes both the FT-10 energy platform compatible Cardioblate BP2 surgical ablation device and Cardioblate PEN FT. This system features dual electrodes for the delivery of saline irrigated RF energy | One size only | 377936 |  | July 2024
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.01 - RF Ablation | 09.14.01.03 - System | Medtronic - Cardioblate Gemini | QQ245 | 6040 | MEDTRONIC AUSTRALASIA PTY LTD | Cardioblate Gemini-S FT Clamp | Valleylab FT10 FT series energy platform compatible bipolar RF ablation catheter with saline irrigation designed for minimally invasive ablation procedures | One size only | 377933 |  | July 2024
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.02 - Cryoablation | 09.14.02.01 - Probe | AA-Med cryoICE | ZZ057 | 3800 | AA-Med Pty Ltd | cryoICE Cryoablation Surgical Probes | Surgical Cryoablation probes for atrial fibrillation surgery | One size only | 202110 311095 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.02 - Cryoablation | 09.14.02.01 - Probe | AA-Med cryoICE | ZZ115 | 3800 | AA-Med Pty Ltd | CRYO3 – AtriCure Cryoice | Aluminum Enhanced Malleable Cryoablation Probe | 10cm | 311095 |  | March 2026
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.02 - Cryoablation | 09.14.02.01 - Probe | Medtronic - SurgiFrost 10 | MI307 | 4095 | MEDTRONIC AUSTRALASIA PTY LTD | SurgiFrost 10 | SurgiFrost 10 is a malleable, single-use cryosurgical device developed to treat cardiac arrhythmias during heart surgery. Freezing preserves tissue integrity. SurgiFrost10 features a malleable shaft and flexible tip with adjustable insulation sleeve. | One size ony | 158928 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.02 - Cryoablation | 09.14.02.01 - Probe | Medtronic - CryoFlex | MI311 | 4695 | MEDTRONIC AUSTRALASIA PTY LTD | CryoFlex™ Surgical Ablation Probe | The CryoFlex™ Surgical Ablation Probe utilises a gas for freezing cells in the surgical treatment of cardiac arrhythmias. | One size only | 158928 |  | March 2021
09 - Cardiothoracic | 09.14 - Surgical cardiac ablation | 09.14.02 - Cryoablation | 09.14.02.02 - System | Medtronic | MI306 | 5095 | MEDTRONIC AUSTRALASIA PTY LTD | CryoFlex™ Surgical Clamp and Probe | The CryoFlex™ Surgical Clamp and Probe combines the utility of the CryoFlex™ Probe with the delivery of a clamp. | One size only | 158929 |  | March 2021
10 - Vascular | 10.11 - Vascular Reconstruction | 10.11.01 - Drug-coated Balloon Catheter |  |  | QQ268 | 1245 | BARD AUSTRALIA PTY. LIMITED | Lutonix Drug Coated Balloon PTA Catheter | The Lutonix Drug Coated Balloon PTA Catheter consists of an over the wire catheter with a drug coated balloon fixed at the distal tip. The balloon is coated with a specialized formulation that includes the drug, paclitaxel. There are three different Models available depending on guidewire compatibility. | Balloon Length (mm)*: 20-300 Catheter Length (cm)*: 75-150 Balloon Diameter (mm)*: 2-12 (*Range across all three models) | 231258 231530 364691 |  | July 2024
10 - Vascular | 10.11 - Vascular Reconstruction | 10.11.01 - Drug-coated Balloon Catheter |  |  | BS429 | 1245 | BOSTON SCIENTIFIC PTY LTD | Ranger OVER THE WIRE Paclitaxel Coated PTA Balloon Catheter | Peripheral angioplasty balloon catheter, drug-eluting | Balloon Length: 30-200 mm; Diameter: 2.00 - 8.00 mm; | 453745 |  | March 2025
10 - Vascular | 10.11 - Vascular Reconstruction | 10.11.01 - Drug-coated Balloon Catheter |  |  | BS430 | 1245 | BOSTON SCIENTIFIC PTY LTD | Ranger/Ranger SL Paclitaxel Coated Balloon Catheter | Peripheral angioplasty balloon catheter, drug-eluting | Balloon Length: 30-200 mm; Diameter: 2.00 - 8.00 mm; | 300172 300173 |  | March 2025
10 - Vascular | 10.11 - Vascular Reconstruction | 10.11.01 - Drug-coated Balloon Catheter |  |  | MI507 | 1245 | MEDTRONIC AUSTRALASIA PTY LTD | IN.PACT Admiral Paclitaxel-Coated PTA Balloon Catheter | The FreePac™ drug coating on the balloon of the IN.PACT Admiral DCB consists of the drug paclitaxel and the excipient urea. | The IN.PACT Admiral DCB variations are: Balloon Diameter: 4 -12mm; Balloon Length: 40 to 250 mm; Catheter Usable Length: 40 to 130 cm. | 228876 |  | July 2023
10 - Vascular | 10.11 - Vascular Reconstruction | 10.11.01 - Drug-coated Balloon Catheter |  |  | QQ646 | 1245 | MEDTRONIC AUSTRALASIA PTY LTD | IN.PACT 018 Paclitaxel-coated PTA Balloon Catheter | The FreePac drug coating on the balloon of the IN.PACT 018 DCB consists of the drug paclitaxel and the excipient urea. | Balloon Diameter: 4 to 7 mm; Balloon Length: 40 to 150 mm; Catheter Usable Length: 80 to 130 cm | 449546 |  | November 2024
10 - Vascular | 10.11 - Vascular Reconstruction | 10.11.01 - Drug-coated Balloon Catheter |  |  | TX072 | 1245 | TELEFLEX MEDICAL AUSTRALIA PTY LTD | Passeo-18 Lux | Paclitaxel releasing PTA Balloon Catheter | Catheter length 90-130cm; Balloon diameter 2.0 – 7.0 mm; Balloon Length 40-200 mm; 4F-5F | 275026 |  | July 2026