Groupings

08 - Cardiac

08.01 - Single Chamber ICDs

08.01.01 - 29-42cc, 5-7 yrs longevity, Lead perf trends, Complex arrhythmia logging + memory features, adv data collect + storage

a

a,c,d

a,d

a,d,e

d

08.01.02 - Features of 8.1.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis

a, d

a, d, e

d

08.01.03 - Single Chamber, Subcutaneous

08.02 - Dual Chamber ICDs

08.02.01 - 29-42cc, 5-7 yrs longevity, Lead perf trends, Complex arrhythmia logging + memory features, adv data collect + storage

a

a,c,d

a,d

a,d,e

c

d

08.02.02 - Features of 8.2.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis

a,c,d

a,c,d,e

a,d

a,d,e

d

08.03 - ICDs with CRT

08.03.01 - Dual Chamber, Bivent pacing, Vent tachyarrhythmia treatment, programming enabling variation L vent & R vent stimulation timing & independent outputs

a

a,c

a,c,d

a,d

a,d,e

c

d

08.03.02 - Features of 8.3.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis

a,c,d

a,c,d,e

a,d

a,d,e

d

08.04 - Single Chamber Pacemakers

08.04.01 - SSI pacemakers & SSIC (SSI with communication capability) pacemakers

08.04.02 - SSIR pacemakers with rate responsive feature

08.04.03 - SSIR with small/compact size, multi-programmability & longevity, & four or more advanced features

f

i

08.05 - Dual Chamber Pacemakers

08.05.01 - DDD/VDD (Communication capability)

08.05.02 - DDDR/VDDR including rate responsive feature

08.05.03 - DDDR with four or more advanced features

g

i

08.05.04 - DDDR with continuous threshold monitoring in atrium + ventricle with ability to adapt pacing outputs accordingly, & with four or more advanced features

g

i

08.06 - CRT Pacemakers

08.06.01 - Dual Chamber, Biven pacing, programming enabling variation of L vent & R vent stimulation timing & independent outputs

i

08.06.02 - Features of 8.6.1 plus continuous threshold monitoring in atrium & ventricle with ability to adapt pacing outputs accordingly

g

i

08.07 - ICD Leads

08.07.01 - Coronary Sinus

08.07.02 - Subcutaneous

08.07.03 - Transvenous/Nonsteroid/Active

08.07.04 - Transvenous/Nonsteroid/Passive

08.07.05 - Transvenous/Steroid/Passive

e

08.07.06 - Transvenous/Steroid/Active

e

08.07.07 - Epicardial Patches

08.08 - Pacemaker Leads

08.08.01 - Non-transvenous, Bi-Polar, Steroid

08.08.02 - Non-transvenous, Uni-Polar, Steroid

08.08.03 - Non-transvenous, Uni-Polar, Non-Steroid

08.08.04 - Transvenous, Uni-Polar, Passive, Steroid, Right Ventricular/Atrial

08.08.05 - Transvenous, Uni-Polar, Passive, Non-Steroid, Left Ventricular

08.08.06 - Transvenous, Uni-Polar, Passive, Steroid, Left Ventricular

08.08.07 - Transvenous, Bi-Polar, Passive, Non-Steroid, Right Ventricular/Atrial

08.08.08 - Transvenous, Bi-Polar, Passive, Steroid, Right Ventricular/Atrial

j

k

08.08.09 - Transvenous, Bi-Polar, Active, Steroid, Right Ventricular/Atrial

j

08.08.10 - Transvenous, Bi-Polar, Active, Non-Steroid, Right Ventricular/Atrial

08.08.11 - Transvenous, Multi-Polar, Passive, Steroid, Left Ventricular

j

08.08.12 - Transvenous, Uni-Polar, Active, Steroid, Right Ventricular/Atrial

08.08.13 - Transvenous, Active, Steroid, Left Ventricular

08.09 - Pacemaker/ICD Adaptors

08.09.01 - Pacemaker/ICD Adaptors

08.10 - Pacemaker/ICD Extenders

08.10.01 - Pacemaker/ICD Adaptors

08.11 - Pacemaker/Lead Accessories

08.11.01 - Pacemaker/Lead Accessories

08.11.02 - Antibacterial Envelope

08.11.02.01 - No SubGroup

08.12 - Coronary Stents

08.12.01 - Drug Eluting

08.12.01.01 - General Purpose

Bioabsorbable

08.12.01.02 - Special Purpose for specific indications

08.12.02 - Bare Metal

08.12.02.01 - General Purpose

08.12.02.02 - Special Purpose for specific indications

l, m

n1

n2

n3

08.13 - Special Purpose Percutaneous Cardiovascular Devices

08.13.01 - Cardiac Defect Occluders

o

p

08.13.02 - Vascular Occlusion Devices

08.13.03 - Left Atrial Appendage Closure

08.13.03.01 - Access System

08.14 - Implantable Cardiac Event Recorders

08.14.01 - Implantable Cardiac Event Recorders

i

08.15 - Stents For Treatment Of Coarctation Of The Aorta

08.15.01 - Uncovered

Balloon- in-Balloon

08.15.02 - Covered

Balloon-in-Balloon

08.16 - Remote Monitoring System

08.16.01 - Remote Monitoring System

08.17 - Catheter Delivery

08.17.01 - Transcatheter Aortic Valve Implantation

08.18 - Cardiac Ablation

08.18.01 - Radio frequency (RF) Ablation

08.18.01.01 - Ablation Catheter

Abbott

Biotronik

Boston Scientific

Johnson and Johnson

Medtronic, single unit

Microport

08.18.01.02 - Patch

Abbott

Boston Scientific

Johnson and Johnson

Microport

08.18.01.03 - Mapping Catheter

Abbott

Boston Scientific

Johnson and Johnson

Microport

08.18.02 - Cryoablation

08.18.02.01 - Ablation Catheter

08.18.02.02 - Mapping Catheter

SUFFIXES AND DEFINITIONS FOR CARDIAC

Suffixes in Single Chamber/ Dual Chamber ICDs & ICD with CRT Groups

a 	high energy device, which delivers a shock of greater than or equal to 35 joules for specified patients

b 	custom headers, which are used in some patients with older implanted leads with a higher profile adaptor

c 	ICDs with therapies for Atrial Tachyarrhythmias which deliver atrial as well as ventricular antitachycardia pacing

d 	devices capable of wireless communication for the transmission of programmed parameters, collected diagnostics and alerts with the ability to automatically transmit this information to a remote site for analysis

e 	DS4 connection (also applicable to ICD leads group)

Suffixes in Single Chamber/ Dual Chamber Pacemakers & CRT Pacemakers Groups

f 	small pacemakers (less than 7cc in size) for pacing in infant patients

g 	pacemakers with therapies for Atrial Tachyarrhythmias, which deliver atrial antitachycardia pacing

h 	single or dual chamber pacemakers with custom headers, which are used in some patients with older implanted leads (non IS1 leads) with a higher profile adaptor

I 	devices capable of wireless communication for the transmission of programmed parameters, collected diagnostics and alerts with the ability to automatically transmit this information to a remote site for analysis

Suffixes in Pacemaker Leads Group

j 	catheter delivered pacing leads that are small in size

k 	VDD leads that offer sensing in both the atrium & ventricle

Suffixes in Coronary Stents Group

l 	vein graft stenosis

m 	perforation or rupture or coronary aneurysm

n 	bifurcation devices

n1 	true bifurcated "Y" devices

n2 	principally main branch devices with a side branch access

n3 	principally side branch devices with main branch access

Suffixes in Special Purpose Percutaneous Cardiovascular Devices - Cardiac Defect Occluders

o 	bileaflet, defect, occluding devices

p 	staple, clip & apposition devices