| **Groupings** |
| --- |
| **07 - Plastic and Reconstructive** |
| **07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION** |
| **07.01.01 - Mesh - Metal** |
| **07.01.01.01 - <0.2mm thick, 1-50cm²** |
|  |
| **07.01.01.02 - <0.2mm thick, 51-100cm²** |
|  |
| **07.01.01.03 - 0.2-0.49mm thick, 1-10cm²** |
|  |
| **Complex** |
| **07.01.01.04 - 0.2-0.49mm thick, 11-50cm²** |
|  |
| **Complex** |
| **07.01.01.05 - 0.2-0.49mm thick, 51-200cm²** |
|  |
| **Complex** |
| **07.01.01.06 - 0.2-0.49mm thick, >200cm²** |
|  |
| **07.01.01.07 - 0.5-0.8mm thick, 1-10cm²** |
|  |
| **07.01.01.08 - 0.5-0.8mm thick, 11-50cm²** |
|  |
| **07.01.01.09 - 0.5-0.8mm thick, 51-200cm²** |
|  |
| **07.01.01.10 - 0.5-0.8mm thick, >200cm²** |
|  |
| **07.01.02 - Mesh - Non-metal** |
| **07.01.02.01 - <0.2mm thick, 1-10cm²** |
|  |
| **07.01.02.02 - <0.2mm thick, 11-25cm²** |
|  |
| **07.01.02.03 - 0.2-0.49mm thick, 1-10cm²** |
|  |
| **07.01.02.04 - 0.2-0.49mm thick, 11-25cm²** |
|  |
| **07.01.02.05 - 0.2-0.49mm thick, 26-50cm²** |
|  |
| **07.01.02.06 - 0.2-0.49mm thick, 51-100cm²** |
|  |
| **07.01.02.07 - 0.5-0.8mm thick, 1-10cm²** |
|  |
| **07.01.02.08 - 0.5-0.8mm thick, 11-25cm²** |
|  |
| **07.01.02.09 - 0.5-0.8mm thick, 26-50cm²** |
|  |
| **07.01.02.10 - 0.5-0.8mm thick, 51-100cm²** |
|  |
| **07.01.02.11 - 0.5-0.8mm thick, 101-200cm²** |
|  |
| **07.01.02.12 - >0.8mm thick, 1-10cm²** |
|  |
| **07.01.02.13 - >0.8mm thick, 11-25cm²** |
|  |
| **07.01.02.14 - >0.8mm thick, 26-50cm²** |
|  |
| **07.01.02.15 - >0.8mm thick, 51-100cm²** |
|  |
| **07.01.02.16 - >0.8mm thick, 101-200cm2** |
|  |
| **07.01.03 - Mesh - Composite** |
| **07.01.03.01 - 0.5-0.8mm thick, 1-25cm²** |
|  |
| **07.01.03.02 - 0.5-0.8mm thick, 26-50cm²** |
|  |
| **07.01.03.03 - >0.8mm thick 26-50cm²** |
|  |
| **07.01.04 - Non-mesh** |
|  |
| **07.01.04.01 - Resorbable** |
|  |
| **07.01.04.02 - Polymer** |
|  |
| **07.01.04.03 - Block** |
|  |
| **07.01.05 - Fracture or Reconstruction Plates** |
| **07.01.05.01 - <0.5mm thick, <4 holes** |
|  |
| **3D** |
| **07.01.05.02 - <0.5mm thick, 4-7 holes** |
|  |
| **Burr** |
| **07.01.05.03 - <0.5mm thick, 8-15 holes** |
|  |
| **07.01.05.04 - <0.5mm thick, 16-32 holes** |
|  |
| **07.01.05.05 - 0.5-0.99mm thick, <4 holes** |
|  |
| **Burr** |
| **Compression** |
| **Resorbable** |
| **07.01.05.06 - 0.5-0.99mm thick, 4-7 holes** |
|  |
| **Burr** |
| **Complex** |
| **Compression** |
| **Locking** |
| **Resorbable** |
| **07.01.05.07 - 0.5-0.99mm thick, 8-32 holes** |
|  |
| **3D** |
| **Burr** |
| **Complex** |
| **Compression** |
| **Locking** |
| **Resorbable** |
| **07.01.05.08 - 0.5-0.99mm thick, >32 holes** |
|  |
| **Resorbable** |
| **07.01.05.09 - 1.0-1.99mm thick, <4 holes** |
|  |
| **Resorbable** |
| **07.01.05.10 - 1.0-1.99mm thick, 4-7 holes** |
|  |
| **Complex** |
| **Compression** |
| **Locking** |
| **Resorbable** |
| **07.01.05.11 - 1.0-1.99mm thick, 8-15 holes** |
|  |
| **Locking** |
| **Resorbable** |
| **07.01.05.12 - 1.0-1.99mm thick, 16-32 holes** |
|  |
| **3D** |
| **Complex** |
| **Locking** |
| **Resorbable** |
| **07.01.05.13 - 1.0-1.99mm thick, >32 holes** |
| **Complex** |
| **Resorbable** |
| **07.01.05.14 - 2.0-2.99mm thick, 4-7 holes** |
|  |
| **Compression** |
| **07.01.05.15 - 2.0-2.99mm thick, 8-15 holes** |
|  |
| **Compression** |
| **Locking** |
| **Resorbable** |
| **07.01.05.16 - 2.0-2.99mm thick, 16-32 holes** |
| **Complex, Locking** |
| **Compression** |
| **Locking** |
| **Resorbable** |
| **07.01.05.17 - 2.0-2.99mm thick, >32 holes** |
| **Complex** |
| **07.01.05.18 - ≥3mm thick, 4-7 holes** |
| **Complex** |
| **07.01.05.19 - ≥3mm thick, 8-15 holes** |
| **Complex** |
| **Locking** |
| **07.01.05.20 - ≥3mm thick, 16-32 holes** |
| **Complex** |
| **Compression** |
| **Locking** |
| **07.01.06 - Screws** |
| **07.01.06.01 - Diameter ≤1.24mm** |
|  |
| **Compression** |
| **07.01.06.02 - Diameter 1.25-3.24mm** |
|  |
| **Compression** |
| **Distractor** |
| **Locking** |
| **Resorbable** |
| **07.01.06.03 - Diameter ≥3.25mm** |
| **Resorbable** |
| **07.01.07 - Ancillary Components** |
| **07.01.07.01 - Pin** |
|  |
| **07.01.07.02 - Tack** |
|  |
| **07.01.07.03 - Washer** |
|  |
| **07.01.07.04 - Wedges and Burr Hole Covers** |
|  |
| **07.01.07.05 - Anchor Bone** |
|  |
| **07.01.07.06 - Clamps** |
|  |
| **07.01.07.07 - Screws** |
|  |
| **07.01.07.08 - Locks** |
|  |
| **07.01.07.09 - Probe** |
|  |
| **07.01.08 - Non-mesh, non-resorbable** |
| **07.01.08.01 - <6cm2** |
|  |
| **07.01.08.02 - >6cm2 - <8cm2** |
|  |
| **07.01.08.03 - >8cm2** |
|  |
| **07.02 - CRANIOMAXILLOFACIAL IMPLANTS** |
| **07.02.01 - Chin** |
|  |
| **Complex** |
| **07.02.02 - Cranium** |
|  |
| **07.02.02.01 - Complex** |
|  |
| **Biomodelled** |
| **Biomodelled Three Piece** |
| **Biomodelled Two Piece** |
| **Biomodelled, Dual Mesh** |
| **07.02.02.02 - Polymer** |
|  |
| **Complex** |
| **07.02.02.03 - Composite** |
|  |
| **07.02.02.04 - Surgical Guide** |
| **Biomodelled** |
| **07.02.02.05 - Anatomical Biomodel** |
| **07.02.03 - Ear** |
|  |
| **07.02.03.01 - Helical Rim** |
|  |
| **07.02.03.02 - Ear Base** |
|  |
| **07.02.04 - Malar** |
|  |
| **07.02.04.01 - Complex** |
|  |
| **07.02.04.02 - Polymer** |
|  |
| **Biomodelled** |
| **07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ)** |
| **07.02.05.01 - Mandible, Full** |
|  |
| **Biomodelled** |
| **07.02.05.02 - Fossa Replacement** |
|  |
| **07.02.05.03 - Mandibular Angle** |
| **Compression** |
| **Polymer** |
| **07.02.05.04 - Condylar Device** |
|  |
| **Fixation Plate** |
| **07.02.05.05 - Plate** |
|  |
| **Biomodelled** |
| **Hemimandible** |
| **Maxilla** |
| **Symphsis** |
| **07.02.05.06 - External Midface System** |
|  |
| **07.02.05.07 - Surgical Guide** |
| **Biomodelled** |
| **07.02.05.08 - Maxilla** |
| **Biomodelled** |
| **07.02.05.09 - Hemi-mandible** |
| **Biomodelled** |
| **07.02.06 - Nose and Zygoma** |
| **07.02.06.01 - Nasal Dorsum** |
|  |
| **07.02.06.02 - Nasal Arch** |
|  |
| **07.02.06.03 - Nasal Shell Shape** |
|  |
| **07.02.06.04 - Nasal Valve Support** |
|  |
| **07.02.06.05 - Naso-orbital Ethmoid Implant** |
| **Complex** |
| **07.02.06.06 - Surgical Guide** |
| **Biomodelled** |
| **07.02.06.07 - Zygoma Plate** |
| **Biomodelled** |
| **07.02.07 - Orbit** |
| **07.02.07.01 - Complete Orbital Shape** |
|  |
| **07.02.07.02 - Orbital Floor** |
|  |
| **Biomodelled** |
| **Coated** |
| **07.02.07.03 - Rim** |
|  |
| **Biomodelled** |
| **07.02.07.04 - Wedge for Orbit** |
|  |
| **07.02.07.05 - Surgical Guide** |
| **Biomodelled** |
| **07.02.08 - External Prostheses, Bone Attachment** |
| **07.02.08.01 - Endosseous Implant** |
|  |
| **Concave** |
| **Flanged** |
| **07.02.08.02 - Abutment, Permanent** |
|  |
| **Angled/Offset** |
| **Concave** |
| **07.02.08.03 - Abutment, Temporary or Healing** |
|  |
| **07.02.08.04 - Abutment Fixtures** |
|  |
| **07.02.09 - Anatomical Biomodel** |
|  |
| **07.03 - DENTAL IMPLANTS** |
| **07.03.01 - Abutment** |
| **07.03.01.01 - Permanent** |
|  |
| **07.03.01.02 - Temporary** |
|  |
| **07.03.01.03 - Cover Screw/Cap** |
|  |
| **07.03.02 - Zygomatic Bone Implant** |
|  |
| **07.03.03 - Endosseous Implant** |
| **07.03.03.01 - Screws** |
|  |
| **07.03.03.02 - Plates** |
|  |
| **Locking** |
| **07.03.03.03 - Implants and Fixtures** |
|  |
| **Hydrophilic Coating** |
| **07.03.03.04 - Graft Material <0.5ml** |
|  |
| **07.03.03.05 - Graft Material 0.5ml-<1.0ml** |
|  |
| **07.03.03.06 - Graft Material ≥1.0ml** |
|  |
| **07.04 - DISTRACTOR SYSTEMS** |
| **07.04.01 - Complete** |
| **07.04.01.01 - External Midface System** |
| **Multivector** |
| **Single Vector** |
| **07.04.01.02 - External Set** |
|  |
| **07.04.01.03 - Internal/Intraoral** |
| **Multivector** |
| **Single Vector** |
| **Single Vector & Resorbable** |
| **07.04.02 - Component** |
| **07.04.02.01 - Distractor Body** |
|  |
| **07.04.02.02 - Footplate** |
|  |
| **Assembly** |
| **Dual Plate** |
| **07.04.02.03 - Cross Bar/Rod** |
|  |
| **07.04.02.04 - Shim Plate** |
|  |
| **07.04.02.05 - Pin** |
|  |
| **07.04.02.06 - Screws** |
|  |
| **07.04.02.07 - External Distractor Component** |
|  |
| **07.04.02.08 - Body Extension** |
|  |
| **07.05 - SOFT TISSUE & TISSUE EXPANDERS** |
| **07.05.01 - Muscular** |
| **07.05.01.01 - Calf Implant** |
|  |
| **07.05.01.02 - Gluteal** |
|  |
| **07.05.01.03 - Pectoral** |
|  |
| **07.05.02 - Tissue Expanders** |
| **07.05.02.01 - Skin or Mammary** |
|  |
| **Expander Implant** |
| **Multiple Chamber** |
| **Self Expanding** |
| **Textured** |
| **07.05.02.02 - Orbital** |
| **Self Expanding** |
| **07.05.02.03 - External Component** |
| **Patient Controller** |
| **07.05.03 - Skin, Artificial** |
| **07.05.03.01 - <50cm²** |
|  |
| **07.05.03.02 - 50-149cm²** |
|  |
| **07.05.03.03 - 150-400cm²** |
|  |
| **07.05.03.04 - >400cm²** |
|  |
| **07.05.04 - Coupler** |
|  |
| **with Doppler probe** |
| **07.06 - MAMMARY IMPLANTS** |
| **07.06.01 - Saline Filled** |
| **07.06.01.01 - <500cc** |
|  |
| **Textured** |
| **Valved** |
| **Valved, Textured** |
| **Valved, Textured, Pre-shaped** |
| **07.06.01.02 - ≥500cc** |
|  |
| **Textured** |
| **Valved** |
| **Valved, Textured** |
| **Valved, Textured, Pre-shaped** |
| **07.06.02 - Gel Filled** |
| **07.06.02.01 - <500cc** |
|  |
| **Pre-shaped** |
| **Textured** |
| **Textured, Pre-shaped** |
| **07.06.02.02 - ≥500cc** |
|  |
| **Pre-shaped** |
| **Textured** |
| **Textured, Pre-shaped** |
| **07.06.02.03 - Pectoral Implant** |
|  |
| **07.06.02.04 - Adjustable** |
|  |

**SUFFIXES AND DEFINITIONS FOR PLASTIC AND RECONSTRUCTIVE**

**Angled/Offset** The Angled/offset abutment is used to compensate for the angle of the implant when inserted into the jaw

**Assembly** A product made up of multiple components

**Biomodelled** Patient specific prosthesis usually manufactured using 3 dimensional scans and manufacturing technology

**Bioresorbable** Item breaks down and is absorbed/resorbed by the body and expelled through one of the body's systems

**Burr** Burr hole covering plate

**Coated** A coating to minimises the likelihood of adhesions

**Complex (mesh)** Pre-shaped, other than regular shapes (ie square, rectangle, round, triangle, etc)

**Complex (plates)** Shaper irregularly as opposed to simple plates (ie straight, L-shape, T-shape, Y-shape, etc) to fit particular anatomical structures

**Compression** Device features intrinsic capacity to apply compression force

**Concave**

**Distractor** Surgical instrument or apparatus used for bone development

**Doppler Guided** Use of a doppler to identify veins during a surgical procedure

**Expander Implant** Tissue expander with a gel-filled outer lumen and saline-filled expandable inner lumen

**Locking** Ability to lock the plate as the screws are tightened

**Multiple Chamber** Consisting of at least two compartments

**Multivector** Modular system that can be adapted to achieve a wide range of clinical results

**Polymer** Comprises of polyethylene

**Pre-shaped (mammary implants)** Having a contoured shape rather than simply round or oval

**Resorbable** Can be broken down and assimilated back into the body

**Self Expanding** Auto inflating using osmosis

**Single Vector** A subcutaneous ramus lengthening distractor

**Textured** Coating having different types of irregularities or rugasity

**Valved** Having a valve