# PUBLIC SUMMARY DOCUMENT

**Product:** Hollister New Image

**Applicant:** Hollister

**Date of SPAP Meeting:** 22 October 2019

## Proposed Variation on the Stoma Appliance Scheme

The applicant, Hollister, sought a change in product description for three existing variants of the current listing of the Hollister New Image (SAS Code 3726D) in subgroup 7(a) of the Stoma Appliance Scheme (SAS) Schedule. The product, including five variants, is currently listed at a unit price of $3.504, with a maximum monthly quantity of 60 units.

## Variants to be added

The applicant requested the following product description be changed for the existing listing of SAS Code 3726D.

| **Product Code** | **Description** |
| --- | --- |
| 18402 | Non-return valve, single chamber, transparent with fabric backing, medium, 300ml, tap closure, direct connection to drainage bag, belt loops on pouch, mechanical coupling, 44mm ring  Pouch film changes  Chlorine free, white pouch film replaced by beige film, translucent pouch film replaced by a more transparent film |
| 18403 | Non-return valve, single chamber, transparent with fabric backing, medium, 300ml, tap closure, direct connection drainage bag, belt loops on pouch, mechanical coupling, 57mm ring  Pouch film changes  Chlorine free, white pouch film replaced by beige film, translucent pouch film replaced by a more transparent film |
| 18404 | Non-return valve, single chamber, transparent with fabric backing, medium, 300ml, tap closure, direct connection to drainage bag, belt loops on pouch, mechanical coupling, 70mm ring  Pouch film changes  Chlorine free, white pouch film replaced by beige film, translucent pouch film replaced by a more transparent film |

## Background

This product was first listed on the SAS Schedule in January 2011.

## Clinical Place for the Product

The proposed product provides an alternative for users requiring a two-piece Urostomy with Mechanical Coupling.

### Financial Analysis

Not applicable

## SPAP Recommendation

The SPAP recommended a change in product description for three variants of the current product range for Hollister New Image (SAS Code 3726D) listed in subgroup 7(a), of the SAS Schedule at the unit price of $3.504, with a maximum monthly quantity of 60 units.

## Context for Decision

The SPAP helps decide whether stoma products should be subsidised and, if so, the conditions of their subsidisation in Australia. It considers submissions in this context. An SPAP decision not to recommend listing or changes to a listing does not represent a final SPAP view about the merits of a particular stoma product. A company can resubmit to the SPAP following a decision not to recommend listing or changes to a listing. The SPAP is an advisory committee and as such its recommendations are non-binding on Government. All SPAP recommendations are subject to Cabinet/Ministerial approval.

## Applicant’s Comment

Hollister agrees with the SPAP’s recommendation.