# PUBLIC SUMMARY DOCUMENT

**Product:** Omnigon Flexima Uro Silk

**Applicant:** Omnigon

**Date of SPAP Meeting:** 22 October 2019

## Proposed Variation on the Stoma Appliance Scheme

The applicant, Omnigon, sought a change in product description for six existing variants of the current listing of the Omnigon Flexima Uro Silk (SAS Code 9826E) in subgroup 3(b) of the Stoma Appliance Scheme (SAS) Schedule. The product, including 10 variants, is currently listed at a unit price of $6.373, with a maximum monthly quantity of 30 units.

## Variants to be added

The applicant requested the product description be changed for existing listing of
SAS Code 9826E.

| **Product Code** | **Description** |
| --- | --- |
| 44915 | Non-return valve single chamber, transparent with fabric backing, medium, 640ml, tap closure, adapter for connection to drainage bag, belt loops on baseplate, hydrocolloid baseplate, shallow convexity, rigid convex ring, hydrocolloid self-adhesive, standard wear, polygon, cut-to-fit, 12mm, 25mm, |
| 44917 | Non-return valve single chamber, transparent with fabric backing, medium, 640ml, tap closure, adapter for connection to drainage bag, belt loops on baseplate, hydrocolloid baseplate, shallow convexity, rigid convex ring, hydrocolloid self-adhesive, standard wear, polygon, cut-to-fit, 12mm, 35mm, |
| 44919 | Non-return valve single chamber, beige with fabric backing, Medium, 640ml, adapter for connection to drainage bag, tap closure, belt loops on baseplate, hydrocolloid baseplate, shallow convexity, rigid convex ring, hydrocolloid self-adhesive, standard wear, polygon, cut-to-fit, 12mm, 35mm |
| 44920 | non-return valve single chamber, transparent with fabric backing, medium, 640ml, tap closure, adapter for connection to drainage bag, belt loops on baseplate, hydrocolloid baseplate, shallow convexity, rigid convex ring, hydrocolloid self-adhesive, standard wear, polygon, pre-cut, 25mm, |
| 44922 | non-return valve single chamber, transparent with fabric backing, medium, 640ml, tap closure, adapter for connection to drainage bag, belt loops on baseplate, hydrocolloid baseplate, shallow convexity, rigid convex ring, hydrocolloid self-adhesive, standard wear, polygon, pre-cut, 3 |
| 44936 | non-return valve single chamber, transparent with fabric backing, medium, 640ml, low headspace, adapter for connection to drainage bag, belt loops on baseplate, 5mm, hydrocolloid baseplate, medium convexity, firm baseplate material, hydrocolloid self-adhesive, standard wear, hexagon, pre-cut, 35mm, release tabs, 35mm, |

## Background

This product was first listed on the SAS Schedule in April 2011.

## Clinical Place for the Product

The proposed product provides an alternative for users requiring a one-piece Urostomy with Convex baseplate

### Financial Analysis

Not Applicable

## SPAP Recommendation

The SPAP recommended the change in product description for six variants to the current product range for Omnigon Flexima Uro Silk (SAS Code 9826E) listed in subgroup 3(b) of the SAS Schedule, at the unit price of $6.373, with a maximum monthly quantity of 30 units.

## Context for Decision

The SPAP helps decide whether stoma products should be subsidised and, if so, the conditions of their subsidisation in Australia. It considers submissions in this context. An SPAP decision not to recommend listing or changes to a listing does not represent a final SPAP view about the merits of a particular stoma product. A company can resubmit to the SPAP following a decision not to recommend listing or changes to a listing. The SPAP is an advisory committee and as such its recommendations are non-binding on Government. All SPAP recommendations are subject to Cabinet/Ministerial approval.

## Applicant’s Comment

Omnigon agrees with the SPAP’s recommendation.