# PUBLIC SUMMARY DOCUMENT

**Product:** New Image High Output Pouch

**Applicant:** Hollister

**Date of SPAP Meeting:** 20 April 2021

## Proposed Listing on the Stoma Appliance Scheme

The applicant, Hollister, sought listing of the New Image High Output Pouch in subgroup 11(a) of the Stoma Appliance Scheme (SAS) Schedule. The product, including three variants was proposed for listing at the unit price of $16.380, with a maximum monthly quantity of 20 units.

## Comparator

The applicant nominated Sensura Mio Two Piece High Output Pouch (SAS Code 80136Q) as the comparator. This product is currently listed in subgroup 11(a) of the SAS Schedule at the unit price of $16.380 with a maximum monthly quantity of 20 units. This was accepted by the Stoma Product Assessment Panel (SPAP) as an appropriate comparator

## Background

This was the SPAP’s first consideration of this product.

### Clinical Place for the Product

The proposed product provides an alternative for users requiring a high output collection bag.

## SPAP Comment

### Clinical Analysis

The Panel noted that the proposed product has an increased inner diameter of the wide bore outlet, which provides for a range of stoma output consistencies to pass through.

The Panel agreed the proposed product provides an alternative to what is currently listed in subgroup 11(a) of the SAS Schedule.

### Economic Analysis

Not undertaken.

### Financial Analysis

The requested price is the same as the accepted comparator. It is therefore unlikely that there would be any budgetary impact for the SAS as a consequence of listing this product.

## SPAP Recommendation

The SPAP recommended that the New Image High Output Pouch, including three variants, be listed in subgroup 11(a) of the SAS Schedule at the unit price of $16.380, with a maximum monthly quantity of 20 units.

## Context for Decision

The SPAP helps decide whether stoma products should be subsidised and, if so, the conditions of their subsidisation in Australia. It considers submissions in this context. An SPAP decision not to recommend listing or changes to a listing does not represent a final SPAP view about the merits of a particular stoma product. A company can resubmit to the SPAP following a decision not to recommend listing or changes to a listing. The SPAP is an advisory committee and as such its recommendations are non-binding on Government. All SPAP recommendations are subject to Cabinet/Ministerial approval.

## Applicant’s Comment

Hollister agrees with the SPAP’s recommendation.